## Punchlist
Punch List For A New Apartment (UK terminology: Snag List For A New Flat)
Room |  | ü | Item | Answer/Notes
Front Door | 1 |  | Test: Front-door locks, handles, and spyhole
| 2 |  | Inspect: Is spyhole usable and the glass in it free of scratches?
| 3 |  | Test: Doorbell
Living Room | 4 |  | Inspect: How many electric sockets are there in the room?
| 5 |  | Test: Do all sockets have power in this room? (Plug in a hair dryer to see if it runs.)
| 5 |  | Test: Does the socket for the aircon have power? [May require special plug]
| 6 |  | Inspect: Is there a connection for Cable-TV in the room? Where is it?
| 7 |  | Inspect: Is there a phone connection in this room? Where is it?
| 8 |  | Test: Does the wall switch turn on the ceiling lights?
| 9 |  | Inspect: Are all windows free of cracks/scratches in the glass?
| 10 |  | Test: Do all the windows open easily and form a good seal when closed?
| 11 |  | Test: Does the door handle work properly?
| 12 |  | Inspect: Are door surfaces free of marks and cracks?
| 13 |  | Inspect: On the walls, is plaster smooth, even, and free of cracks; and is paint even?
| 14 |  | Inspect: On the ceiling, is plaster smooth, even, and free of cracks; and is paint even?
Kitchen/ Hallway | 15 |  | Test: Do faucets [taps] turn on without difficulty? Good water flow? Water clean (not murky)?
| 16 |  | Inspect: Is countertop free of cracks/damage
| 17 |  | Inspect: Are cabinet doors free of cracks/damage?
| 18 |  | Test: Do all cabinet doors open and close smoothly, and are they properly aligned?
| 19 |  | Test: Do lights work in/under all cabinets that have lights? Which are these?
| 20 |  | Inspect: Are shelves inside the cabinets free of cracks/damage?
| 21 |  | Test: Does the wall switch turn on the ceiling lights?
| 22 |  | Test: Do all sockets above the countertop have power? (Plug in a hair dryer to see if it runs.)
| 23 |  | Test: Does the dishwasher operate correctly (run a full cycle)?
| 24 |  | Test: Does the refrigerator operate correctly (turn it on for a while)?
| 25 |  | Test: Does the stove operate correctly (check all burners and oven)?
| 26 |  | Test: Does the microwave operate correctly (heat a glass of water for a minute)?
| 27 |  | Test: Does the phone/intercom unit to call the front desk/answer the entry-intercom work?
| 28 |  | Test: Does the door handle work properly?
| 29 |  | Inspect: Are door surfaces free of marks and cracks?
| 30 |  | Inspect: On the walls, is plaster smooth, even, and free of cracks; and is paint even?
| 31 |  | Inspect: On the ceiling, is plaster smooth, even, and free of cracks; and is paint even?
Guest's/ Maid's Bathroom | 32 |  | Test: Does the wall switch turn on the ceiling lights?
| 33 |  | Test: Does basin faucet [tap] turn on without difficulty? Good water flow? Water clean (not murky)?
| 34 |  | Test: Does toilet flush properly and tank refill quickly, with smooth shut-off when full?
| 35 |  | Inspect: Are shower tiles free of cracks and scratches and there no tiles missing?
| 36 |  | Test: Does shower turn on without difficulty and water flow with adequate flow?
| 37 |  | Test: Does faucet [tap] in shower stall turn on without difficulty and water flow properly?
| 38 |  | Inspect: Is shower curtain rod firmly in place and level?
| 39 |  | Test: Does the door handle work properly?
| 40 |  | Inspect: Are door surfaces free of marks and cracks?
| 41 |  | Inspect: On the walls, is plaster smooth, even, and free of cracks; and is paint even?
| 42 |  | Inspect: On the ceiling, is plaster smooth, even, and free of cracks; and is paint even?
Master Bedroom | 43 |  | Inspect: How many electric sockets are there in the room?
| 44 |  | Test: Do all sockets have power in this room? (Plug in a hair dryer to see if it runs.)
| 45 |  | Test: Does the socket for the aircon have power? [May require special plug]
| 46 |  | Inspect: Is there a connection for Cable-TV in the room? Where is it?
| 47 |  | Inspect: Is there a phone connection in this room? Where is it?
| 48 |  | Test: Does the wall switch turn on the ceiling lights?
| 49 |  | Inspect: Are all windows free of cracks/scratches in the glass?
| 50 |  | Test: Do all the windows open easily and form a good seal when closed?
| 51 |  | Inspect: Do all closet doors open and close properly and are they properly aligned?
| 52 |  | Inspect: Are all closet doors and panels free from scratches and chips?
| 53 |  | Inspect: Inside the closet, is the rod properly mounted and level?
| 54 |  | Test: Does the door handle work properly?
| 55 |  | Inspect: Are door surfaces free of marks and cracks?
| 56 |  | Inspect: On the walls, is plaster smooth, even, and free of cracks; and is paint even?
| 57 |  | Inspect: On the ceiling, is plaster smooth, even, and free of cracks; and is paint even?
Master Bathroom | 58 |  | Test: Does the wall switch turn on the ceiling lights?
| 59 |  | Test: Do basin faucets [taps] turn on without difficulty? Good water flow? Water clean (not murky)?
| 60 |  | Inspect: Is marble top free of cracks and scratches?
| 61 |  | Test: Does socket for a hairdryer have power? (Plug in a hair dryer to see if it runs.)
| 62 |  | Test: Does toilet flush properly and tank refill quickly, with smooth shut-off when full?
| 63 |  | Inspect: Are shower tiles free of cracks and scratches and there no tiles missing?
| 64 |  | Test: Does shower turn on without difficulty and water flow with adequate flow?
| 65 |  | Test: Does faucet [tap] in shower stall turn on without difficulty and water flow properly?
| 66 |  | Inspect: Is shower curtain rod firmly in place and level?
| 67 |  | Test: Does the heated towel rail get hot when turned on in electric-heating mode? (Test this first.)
| 68 |  | Test: Does the heated towel rail get hot when central heating is on? (Test under item 111.)
| 69 |  | Test: Does the window open easily and form a good seal when closed?
| 70 |  | Test: Does the door handle work properly?
| 71 |  | Inspect: Are door surfaces free of marks and cracks?
| 72 |  | Inspect: On the walls, is plaster smooth, even, and free of cracks; and is paint even?
| 73 |  | Inspect: On the ceiling, is plaster smooth, even, and free of cracks; and is paint even?
2nd Bedroom | 74 |  | Inspect: How many electric sockets are there in the room?
| 75 |  | Test: Do all sockets have power in this room? (Plug in a hair dryer to see if it runs.)
| 76 |  | Test: Does the socket for the aircon have power? [May require special plug]
| 77 |  | Inspect: Is there a connection for Cable-TV in the room? Where is it?
| 78 |  | Inspect: Is there a phone connection in this room? Where is it?
| 79 |  | Test: Does the wall switch turn on the ceiling lights?
| 80 |  | Inspect: Are all windows free of cracks/scratches in the glass?
| 81 |  | Inspect: Do all closet doors open and close properly and are they properly aligned?
| 82 |  | Inspect: Are all closet doors and panels free from scratches and chips?
| 83 |  | Inspect: Inside the closet, is the rod properly mounted and level?
| 84 |  | Test: Does the door handle work properly?
| 85 |  | Inspect: Are door surfaces free of marks and cracks?
| 86 |  | Inspect: On the walls, is plaster smooth, even, and free of cracks; and is paint even?
| 87 |  | Inspect: On the ceiling, is plaster smooth, even, and free of cracks; and is paint even?
Second Bathroom | 88 |  | Test: Does the wall switch turn on the ceiling lights?
| 89 |  | Test: Do basin facets [taps] turn on without difficulty? Good water flow? Water clean (not murky)?
| 90 |  | Inspect: Is marble top free of cracks and scratches?
| 91 |  | Test: Does socket for a hairdryer have power? (Plug in a hair dryer to see if it runs.)
| 92 |  | Test: Does toilet flush properly and tank refill quickly, with smooth shut-off when full?
| 93 |  | Inspect: Are shower tiles free of cracks and scratches and there no tiles missing?
| 94 |  | Test: Does shower turn on without difficulty and water flow with adequate flow?
| 95 |  | Test: Does faucet [tap] in shower stall turn on without difficulty and water flow properly?
| 96 |  | Inspect: Is shower curtain rod firmly in place and level?
| 97 |  | Test: Does the heated towel rail get hot when turned on in electric-heating mode? (Test this first.)
| 98 |  | Test: Does the heated towel rail get hot when central heating is on? (Test under item 111.)
| 99 |  | Test: Does the window open easily and form a good seal when closed?
| 100 |  | Test: Does the door handle work properly?
| 101 |  | Inspect: Are door surfaces free of marks and cracks?
| 102 |  | Inspect: On the walls, is plaster smooth, even, and free of cracks; and is paint even?
| 103 |  | Inspect: On the ceiling, is plaster smooth, even, and free of cracks; and is paint even?
Utility Room | 104 |  | Inspect: Are all windows free of cracks/scratches in the glass?
| 105 |  | Inspect: Does the window open easily and form a good seal when closed?
| 106 |  | Test: Does door handle work properly?
| 107 |  | Test: Do all sockets have power in this room? (Plug in a hair dryer to see if it runs.)
| 108 |  | Test: Do the washer/dryer sockets have power? [May require special plug.]
| 109 |  | Test: Is there water flow from the washer/dryer faucet [tap]?
| 110 |  | Test: Is the drain for the washer/dryer free of obstructions? (Pour a jug of water into it.)
| 111 |  | Test: Does the heating boiler operate correctly? (Turn it on and check radiators and hot water.)
| 112 |  | Inspect: Do covers close properly on breaker/fuse boxes?
| 113 |  | Inspect: On the walls, is plaster smooth, even, and free of cracks; and is paint even?
| 114 |  | Inspect: On the ceiling, is plaster smooth, even, and free of cracks; and is paint even?