CONSTRUCTION PUNCH LIST

CHECK LIST

| CATEGORY | ITEM | REPORTED COMPLETED |
| --- | --- | --- |
| CEILINGS |  |  |  |
|  | Are there any visible drywall tape joints? Check in natural light and with lights on |  |  |
|  | Are the holes for light fixtures and vents overcut so there are gaps at the coverplate |  |  |
|  | Do you notice any cracks in the ceiling |  |  |
|  | Do you notice any cracks at the corners of skylights |  |  |
|  | Do you have adequate access to your attic and is it insulated properly |  |  |
|  | Are skylights sealed |  |  |
|  | Are smoke detectors installed and operational |  |  |
| WALLS |  |  |  |
|  | Are there any visible tape joints not properly sanded or missing paint |  |  |
|  | Are there any cracks at the corners of door and windows |  |  |
|  | Do you see any screw heads popped through the drywall |  |  |
|  | Do you see any nail heads popped in wood framing |  |  |
|  | Is there adequate paint coverage or do you see thin spots |  |  |
|  | If your walls are textured, is it uniform |  |  |
|  | Do you notice any gouges, dings or crushed corners |  |  |
|  | Are there any cracked or chipped wall tiles |  |  |
|  | Are there any broken grout pieces on tile walls |  |  |
|  | Is wall covering secure at wall ends and corners |  |  |
|  | Are any trim pieces tight to the wall with no gaps |  |  |
| DOORS AND WINDOWS |  |  |  |
|  | Check frames for damage - dents, scratches, buckling |  |  |
|  | Doors should open and close smoothly without catching |  |  |
|  | Self-closing doors should latch on closing |  |  |

SucceedWithContractors.com

1 of 5

CONSTRUCTION PUNCH LIST

CHECK LIST

| CATEGORY | ITEM | REPORTED COMPLETED |
| --- | --- | --- |
|  | Is there weatherstripping on all exterior doors |  |  |
|  | Are there sweeps at the bottom of exterior doors |  |  |
|  | Do doors close tightly and lock properly |  |  |  |
|  | Is there any light visible around the door perimeter or bottom |  |  |
|  | Do door hinges have all their screws |  |  |  |
|  | Does the door threshold create a trip hazard |  |  |
|  | Is the door threshold sealed to prevent water intrusion |  |  |
|  | Are there any gaps between the door frame and the wall |  |  |
|  | Are all your door stops installed |  |  |  |
|  | Do windows open and close easily without sticking |  |  |
|  | Do windows lock easily |  |  |  |
|  | Are screens installed and secure |  |  |  |
|  | Are any glass panes cracked |  |  |  |
|  | Do you notice any moisture between glass panes |  |  |
|  | Are your doors undercut to clear the carpet and for circulation |  |  |
|  | If you have closers at the top of your doors, do they work properly |  |  |
|  | Any glass sliding, pocket or bi-fold doors should slide smoothing on their tracks |  |  |
| CABINETS AND COUNTERS |  |  |  |
|  | Are there any open cutouts at the back of your base cabinets |  |  |
|  | Are there any exposed nail or screw ends | inside your cabinets |  |  |
|  | Do your cabinet doors easily open and close |  |  |
|  | Do your cabinet hinges contain all their screws |  |  |
|  | Are there any gaps at mitered corners of upper cabinet moldings |  |  |
|  | Is your molding glued or nailed |  |  |  |
|  | Do your cabinet drawers glide easily without catching |  |  |

SucceedWithContractors.com

2 of 5

CONSTRUCTION PUNCH LIST

CHECK LIST

CATEGORY	ITEM	REPORTED	COMPLETED

Is laundry, linen and cabinet shelving installed correctly

Are closet rods installed

Is your sink sealed to your countertop

Are your joints in a granite, marble or stone countertop uniform and sealed

Are there any gaps at countertop corners

Is your backsplash caulked to your wall

FLOORING

Are there any frayed ends on your carpet

Does your flooring transition correctly between systems i.e., from tile to carpet

Is your tile or stone flooring evenly grouted so the grout joints are the same size

Has your floor grout been sealed

Is your tile or stone flooring installed level so there is no more than 1/16" rise

Are there any cracked or chipped tiles

Is your perimeter wood, carpet, stone or vinyl wall base attached

Are there any gaps between the base and the wall

Are there any gaps between the base and the flooring

Are carpet seams visible

Is the direction of your carpeting consistent

Are there transition strips where different types of flooring meet

Is there any damage to flooring from construction operations

PLUMBING

Is your dryer vent connected to the outside

Are your plumbing fixtures caulked and sealed

Does your garbage disposer work

SucceedWithContractors.com

3 of 5

CONSTRUCTION PUNCH LIST

CHECK LIST

CATEGORY	ITEM	REPORTED	COMPLETED

Did you run your dishwasher through one full cycle

Are shut off valves installed at all water connections i.e. kitchen, bathroom, hot tub

Have access panels been installed to access plumbing in your walls

Hot and cold water come out of their designated faucets

Toilets flush properly

Do any of the plumbing connects are the wall leak

Do any of your faucets drip

Are your plumbing cover plates tight to the wall

Do you floor drain have backflow preventers and traps where required

Are your toilet paper holders, mirrors securely fastened

Is your water heater set correctly

MECHANICAL

Is your microwave exhaust hooked up and working

Do your exhaust fans work

Have the construction filters been changed in your furnace to clean filters

Are all your diffusers and registers installed and open

Are your thermostats installed

Do your thermostats operate the correct heating and cooling zones

Has the gas been tuned on at your furnace and water heater

Do you have a humidifier on your furnace and is it installed

Is your ductwork insulated and sealed

Has your contractor vacuumed/cleaned the ductwork following construction

Do you notice any excessive noise, rattling or vibration when AC & furnace run

Do all your appliances work

Is your range hood connected and vented to the outside

SucceedWithContractors.com

4 of 5

CONSTRUCTION PUNCH LIST

CHECK LIST

| CATEGORY | ITEM | REPORTED COMPLETED |
| --- | --- | --- |
| ELECTRICAL / LOW VOLTAGE |  |  |  |
|  | Verify that phone jacks in all your rooms work |  |  |
|  | Understand which room outlets are switched |  |  |
|  | Will any of your furniture require a floor outlet |  |  |
|  | Are all switchplates / coverplates installed |  |  |
|  | Are there light bulbs in all your overhead lights |  |  |
|  | Has power been brought to the location for future ceiling fans |  |  |
|  | Is there a wall switch for ceiling fans |  |  |
|  | Have all the circuits been labeled in your electrical panel(s) |  |  |
|  | Is your garage door opener connected |  |  |
|  | Have any contacts for security been installed around doors or windows that will conflict |  |  |
|  | with the installation of blinds or drapery |  |  |
|  | Do you have cable jacks installed in all your rooms |  |  |
|  | Visualize your furniture layout, are your jacks in the right place |  |  |
|  | Is your irrigation clock installed and working |  |  |
|  | Do you know where your breaker panel is located |  |  |
| MISCELLANEOUS |  |  |  |
|  | Twist all the spindles in your stair rails to make sure none are loose |  |  |
|  | Check stairs and railing for any loose components |  |  |
|  | Do all your hose bibbs work |  |  |
|  | Look for any concrete cracking that is not in a control joint |  |  |

SucceedWithContractors.com

5 of 5