The goal of this template is to give a structure for the user guide. Its presentation is not user-friendly. Add you cover page, logo, look-and-feel etc…

Add also the CE Mark on the cover page, if necessary.

The identification of the document shall also be clear, add the identifier and revision date of the document on the cover page or somewhere where it is easily visible.

TABLE OF CONTENTS

1	Introduction	2

1.1	Conventions	2

1.2	Intended use	2

2	Precautions	2

2.1	Compliant Use	2

2.2	Safety instructions	3

2.2.1	Electromagnetic interferences	3

2.2.2	Electrical connection	3

2.2.3	Environment	3

2.2.4	Storage conditions	3

2.3	Malfunction	4

3	Installation	4

4	Getting started	4

5	Advanced functions	4

6	Maintenance	4

7	Cleaning and Disinfection	4

8	Error Messages, troubleshooting	4

9	Bibliography	5

10	Warranty	5

11	Legal Notices	5

11.1	Disclaimer	5

11.2	Copyrights and trademarks	5

12	Manufacturer Contact Information	5

# Introduction

This document is the user guide for XXX, a device designed by <your company>.

It is recommended that you read this instruction manual carefully before use.

If your software uses accessories, give the list below

This product can only be used with accessories delivered by <your company>:

- List of accessories with references

- An accessory

- Another accessory

The use of any other accessories is forbidden.

Please, read carefully the precautions with  symbols, to ensure that the device is used in best conditions and in complete safety.

## Conventions

Typographical convention.

Any other convention.

To avoid all physical and material damage, this document splits safety instructions into 3 danger levels.

|  | ATTENTION |
| --- | --- |
|  | Hazardous situation which can cause material damage or lead to moderate serious injury. |

|  | WARNING |
| --- | --- |
|  | Hazardous situation which can cause serious/ fatal injury. |

|  | Hazardous situation which could immediately cause serious/ fatal injury. |
| --- | --- |

## Intended use

Add here the intended use of your device

# Precautions

## Compliant Use

The use of this device is reserved to XXX (give the specialty of physicians or if they need a training or an education level), or under their control.

Any inappropriate use is forbidden.

The user shall:

- Only use non-defective products.

- Protect patients, third parties, other operators, assistants and themselves from all danger.

- Avoid all contamination by the product (remove this if you don’t sell hardware).

The user must check the safety of operation and the condition of the device before each use.

Verify that the product is operational at all times and keep it in good working conditions.

Only <your company> technicians are authorized to repair <your company> products.

## Safety instructions

Add any instructions related to safety, especially mitigations actions from risk analysis

### Electromagnetic interferences

If you sell hardware + software, then this part is important. If you sell only software you can remove it.

Example of safety instruction, add any other safety instruction:

The device is certified compliant with current electromagnetic compatibility standards.

|  | ATTENTION |
| --- | --- |
|  | Users should ensure that no electromagnetic interference raises an additional risk. So as not to disturb the proper operation of electromagnetic devices, it is recommended complying with the recommended separation distances for the device. ( give separation distances) |

### Electrical connection

If you sell hardware + software, then this part is important. If you sell only software you can remove it

Example of safety instruction, add any other safety instruction:

|  | DANGER Bad electrical connection - ELECTRIC SHOCK - ELECTROCUTION Check that the supply voltage is the same as that shown on the device. Check the supply cable before each use. Never plug or unplug the device to/from a wall socket with damp hands. Any other use or connection of devices or peripherals to a port (USB, serial, parallel …) may create new risks and may require additional risk analysis |
| --- | --- |

### Environment

If you sell hardware + software, then this part is important. If you sell only software you can remove it.

Add safety instructions about environment, like presence of explosive gases (anesthetics), fluids, temperature, mechanical constraints …

### Storage conditions

If you sell hardware + software, then this part is important. If you sell only software you can remove it.

Add safety instructions about recommended storage conditions …

## Malfunction

In case of malfunction:

- Immediately stop using the device.

- Try to identify or eliminate the cause using the description in this document (section Error messages, troubleshooting).

- If it is not possible to identify or eliminate the cause using this document, switch the device off and call <your company> After-Sales Department (see Manufacturer section at the end of this document).

# Installation - unistallation

Optional, you may remove this section and describe installation in a separate installation manual

Describe the installation and uninstallation of the hardware and software. Hardware and/or software installation may be only realized by technicians of your company. In this case, remove this section and describe installation in another (internal?) document.

# Getting started

First use of software by the user, explain main and/or simple use cases, and main workflow.

# Advanced functions

Advanced use, describe more complex use cases and/or secondary functions

# Maintenance

Optional, you may remove this section and describe installation in a separate maintenance/administrator’s manual

Describe the maintenance of the hardware and software. Hardware and/or software maintenance may be only realized by technicians of your company. In this case, remove this section and describe installation in another (internal?) document.

# Cleaning and Disinfection

If you sell hardware which shall be cleans and disinfected. Otherwise you can remove it.

You may rename this section “Cleaning, Disinfection and Sterilization” is you have instructions about sterilization.

Describe how the device shall be cleaned and disinfected. Is your hardware protected by screens, sheaths, if it is a medical PC, how to clean the screen, the mouse & keyboard …

# Troubleshooting, Error Messages

|  | This section is intended to help users, should a problem occur. |
| --- | --- |

In the event of abnormal operation, immediately stop using the device and call <your company> After-Sales Dept.

If it is not possible to locate or eliminate the problem using this section, or if the dysfunction is still present, switch off the device and call <your company> After-Sales Dept.

|  | DANGER Never try to repair this device alone |
| --- | --- |

| Error message | Description |
| --- | --- |
| Your error message | Description of the error and how to fix it, if possible |
| Not enough disk space (err 123) | Empty disk using xxxx |

| Malfunction | Causes | Solutions |
| --- | --- | --- |
| The malfunction | The cause | The solution, if any, or call after-sales |
| The PC doesn’t start | It is unplugged | Plug it to main (I Love this one !!!) |

# Bibliography

Optional. Add here bibliography, clinical data that are relevant to the use of the device.

# Warranty

Warranty terms and conditions. Not optional! …

# Legal Notices

Optional, ask your legal advisory!

## Disclaimer

Optional. The disclaimer is usual in software industry and is also often shown during software installation…

## Copyrights and trademarks

Optional. Add your copyrights and trademarks

Add sentences like:

Windows is a registered trademark of Microsoft Corporation in the USA and other countries.

# Manufacturer Contact Information

<Your Company>

Address

ZIP Code

Country

Contact Phone

Fax

# Text boxes

DANGER

DANGER

DANGER

More templates to download on the:

Templates Repository for Software Development Process (click here)

Or paste the link below in your browser address bar:

http://blog.cm-dm.com/pages/Software-Development-Process-templates

This work is licensed under the:

Creative Commons Attribution-NonCommercial-NoDerivs 3.0 France License: http://creativecommons.org/licenses/by-nc-nd/3.0/fr/

Waiver:

You can freely download and fill the templates of blog.cm-dm.com, to produce technical documentation. The documents produced by filling the templates are outside the scope of the license. However, the modification of templates to produce new templates is in the scope of the license and is not allowed by this license.

To be compliant with the license, I suggest you to keep the following sentence at least once in the templates you store, or use, or distribute:

This Template is the property of Cyrille Michaud License terms: see http://blog.cm-dm.com/post/2011/11/04/License

Who am I? See my linkedin profile:

http://fr.linkedin.com/pub/cyrille-michaud/0/75/8b5

You can remove this first page when you’ve read it and acknowledged it!

Thank-you for downloading the

User Guide Template!