Laboratory Report

| Seabrook Water Dept | Date Printed: | 06/03/2021 |
| --- | --- | --- |
| 550 Route 107 | Work Order #: | 2105-04067 |
| Seabrook, NH 03874 | Client Job #: |  |
|  | Date Received: | 05/27/2021 |
|  | Sample collected in: | New Hampshire |

Attached please find results for the analysis of the samples received on the date referenced above.

Unless otherwise noted in the attached report, the analyses performed met the requirements of the analyzing laboratory's Quality Assurance Plan, Standard Operating Procedures and State Accreditation. This certificate shall not be reproduced, except in full, without the written approval of the analyzing laboratory. The results presented in this report relate to the samples listed on the following pages in the condition in which they were received. Accreditation for each analyte is identified by the * symbol following the analyte name. Location of our analyzing laboratory is identified by the code in the Analyst Column.

| A & L Laboratory: | Granite State Analytical Services LLC: |
| --- | --- |
| Identified by ME in Analyst Column | Identified by NH in Analyst Column |
| 155 Center Street, Auburn, Maine 04210 | 22 Manchester Road, Derry, NH 03038 |
| www.allaboratory.com | www.granitestateanalytical.com |

ANALYSIS RELATED NOTES:

- RL: "Reporting limit" means the lowest level of an analyte that can be accurately recovered from the matrix of interest.

- A & L Laboratory / Granite State Analytical Services LLC. accreditation lists can be found on our websites listed above.

- Subcontracted samples will be identified by the Accreditation number of the subcontract laboratory in the analyst field for each analyte and the appropriate laboratory will be listed here. None

- Data Qualifiers (DQ) Flags provide additional information in regards to the receipt, analysis or quality control of a sample. These are indicated under the DQ Flags Column on your report and listed here if necessary: Data Qualifier (DQ) Flags: None

SAMPLE STATE SPECIFIC NOTES:

Additional Narrative or Comments: None

We appreciate the opportunity to provide you with laboratory services. If you have any questions regarding the enclosed report, please contact the laboratory and we will be happy to assist you.

A & L Laboratory: Accreditations: Maine ME00021, New Hampshire 2501, Maine Radon Registration ID # SPC20

Granite State Analytical Services, LLC: Accreditations: New Hampshire 1015; Maine NH00003;

Massachusetts M-NH0003; Rhode Island 101513; Vermont VT-101507

Page 1 of 2

DRINKING WATER COMPLIANCE REPORT

| DATE PRINTED: | 06/03/2021 | CHEMICAL RESULTS FOR THE 2nd QUARTER 2021 | Passes |  | Legend |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| SAMPLE ID #: | 2105-04067-001 |  | LAB ID#: | 1015 |  |  |  |  |  |  |  |
|  |  |  |  |  |  | Fails EPA Primary |  |  |  |
| SAMPLED BY: | Eaton, George |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | Fails EPA Secondary |  |  |  |
| SAMPLE CATEGORY: | Routine Sample |  |  |  |  | Fails State Guideline |  |  |  |
| SYSTEM NAME: | Seabrook Water Dept |  |  |  |  | Attention |  |  |  |  |  |
| EPA ID#: | 2111010 |  |  |  | DATE & TIME COLLECTED: | 05/27/2021 | 11:45AM |
| SYSTEM TOWN: | Seabrook |  |  |  | DATE & TIME RECEIVED: | 05/27/2021 | 12:31PM |
| SAMPLE AGENT #: | 603-474-9921 |  |  |  | WATER SYS TYPE: | Community |  |  |  |
| SAMPLE LOCATION: | 516 SEABROOK WTP/BLEND |  |  | RECEIPT TEMP: | ON ICE 12.1° CELSIUS |
|  | 002/4/6/7/8/9/11/14/15 |  |  | CLIENT JOB #: |  |  |  |  |  |
| BAR CODE: |  |  |  |  |  |  |  |  |  |  |
| Test Description | Results | Test Units Pass | DQ | RL | Limit | Method | Analyst | Date & Time |
|  |  | /Fail | Flag |  |  |  |  |  | Analyzed |
| Calcium* | 53.0 | mg/L |  | 1 | No Limit | EPA 200.7 | JLR-NH 06/02/2021 02:13PM |
| Hardness (calc.)* | 199 | mg CaCO3/L |  | 2 | No Limit | EPA 200.7 | JLR-NH 06/02/2021 02:13PM |
| Magnesium* | 16.1 | mg/L |  | 1 | No Limit | EPA 200.7 | JLR-NH 06/02/2021 02:13PM |

Page 2 of 2

Laboratory Report

| Seabrook Water Dept | Date Printed: | 06/03/2021 |
| --- | --- | --- |
| 550 Route 107 | Work Order #: | 2105-04068 |
| Seabrook, NH 03874 | Client Job #: |  |
|  | Date Received: | 05/27/2021 |
|  | Sample collected in: | New Hampshire |

Attached please find results for the analysis of the samples received on the date referenced above.

Unless otherwise noted in the attached report, the analyses performed met the requirements of the analyzing laboratory's Quality Assurance Plan, Standard Operating Procedures and State Accreditation. This certificate shall not be reproduced, except in full, without the written approval of the analyzing laboratory. The results presented in this report relate to the samples listed on the following pages in the condition in which they were received. Accreditation for each analyte is identified by the * symbol following the analyte name. Location of our analyzing laboratory is identified by the code in the Analyst Column.

| A & L Laboratory: | Granite State Analytical Services LLC: |
| --- | --- |
| Identified by ME in Analyst Column | Identified by NH in Analyst Column |
| 155 Center Street, Auburn, Maine 04210 | 22 Manchester Road, Derry, NH 03038 |
| www.allaboratory.com | www.granitestateanalytical.com |

ANALYSIS RELATED NOTES:

- RL: "Reporting limit" means the lowest level of an analyte that can be accurately recovered from the matrix of interest.

- A & L Laboratory / Granite State Analytical Services LLC. accreditation lists can be found on our websites listed above.

- Subcontracted samples will be identified by the Accreditation number of the subcontract laboratory in the analyst field for each analyte and the appropriate laboratory will be listed here. None

- Data Qualifiers (DQ) Flags provide additional information in regards to the receipt, analysis or quality control of a sample. These are indicated under the DQ Flags Column on your report and listed here if necessary: Data Qualifier (DQ) Flags: None

SAMPLE STATE SPECIFIC NOTES:

Additional Narrative or Comments: None

We appreciate the opportunity to provide you with laboratory services. If you have any questions regarding the enclosed report, please contact the laboratory and we will be happy to assist you.

A & L Laboratory: Accreditations: Maine ME00021, New Hampshire 2501, Maine Radon Registration ID # SPC20

Granite State Analytical Services, LLC: Accreditations: New Hampshire 1015; Maine NH00003;

Massachusetts M-NH0003; Rhode Island 101513; Vermont VT-101507

Page 1 of 2

DRINKING WATER COMPLIANCE REPORT

| DATE PRINTED: | 06/03/2021 | CHEMICAL RESULTS FOR THE 2ND QUARTER 2021 | Passes |  | Legend |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| SAMPLE ID #: | 2105-04068-001 |  | LAB ID#: | 1015 |  |  |  |  |  |  |  |
|  |  |  |  |  |  | Fails EPA Primary |  |  |  |
| SAMPLED BY: | Eaton, George |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | Fails EPA Secondary |  |  |  |
| SAMPLE CATEGORY: | Routine Sample |  |  |  |  | Fails State Guideline |  |  |  |
| SYSTEM NAME: | Seabrook Water Dept |  |  |  |  | Attention |  |  |  |  |  |
| EPA ID#: | 2111010 |  |  |  | DATE & TIME COLLECTED: | 05/27/2021 | 11:26AM |
| SYSTEM TOWN: | Seabrook |  |  |  | DATE & TIME RECEIVED: | 05/27/2021 | 12:31PM |
| SAMPLE AGENT #: | 603-474-9921 |  |  |  | WATER SYS TYPE: | Community |  |  |  |
| SAMPLE LOCATION: | 512 RILEY PUMPHOUSE / GPW 7 / 012 |  |  | RECEIPT TEMP: | ON ICE 12.1° CELSIUS |
| BAR CODE: |  |  |  |  | CLIENT JOB #: |  |  |  |  |  |
| Test Description | Results | Test Units Pass | DQ | RL | Limit | Method | Analyst | Date & Time |
|  |  | /Fail | Flag |  |  |  |  |  | Analyzed |
| Calcium* | 73.7 | mg/L |  | 1 | No Limit | EPA 200.7 | JLR-NH 06/02/2021 02:14PM |
| Hardness (calc.)* | 260 | mg CaCO3/L |  | 2 | No Limit | EPA 200.7 | JLR-NH 06/02/2021 02:14PM |
| Magnesium* | 18.4 | mg/L |  | 1 | No Limit | EPA 200.7 | JLR-NH 06/02/2021 02:14PM |

Page 2 of 2

Laboratory Report

| Seabrook Water Dept | Date Printed: | 06/03/2021 |
| --- | --- | --- |
| 550 Route 107 | Work Order #: | 2105-04069 |
| Seabrook, NH 03874 | Client Job #: |  |
|  | Date Received: | 05/27/2021 |
|  | Sample collected in: | New Hampshire |

Attached please find results for the analysis of the samples received on the date referenced above.

Unless otherwise noted in the attached report, the analyses performed met the requirements of the analyzing laboratory's Quality Assurance Plan, Standard Operating Procedures and State Accreditation. This certificate shall not be reproduced, except in full, without the written approval of the analyzing laboratory. The results presented in this report relate to the samples listed on the following pages in the condition in which they were received. Accreditation for each analyte is identified by the * symbol following the analyte name. Location of our analyzing laboratory is identified by the code in the Analyst Column.

| A & L Laboratory: | Granite State Analytical Services LLC: |
| --- | --- |
| Identified by ME in Analyst Column | Identified by NH in Analyst Column |
| 155 Center Street, Auburn, Maine 04210 | 22 Manchester Road, Derry, NH 03038 |
| www.allaboratory.com | www.granitestateanalytical.com |

ANALYSIS RELATED NOTES:

- RL: "Reporting limit" means the lowest level of an analyte that can be accurately recovered from the matrix of interest.

- A & L Laboratory / Granite State Analytical Services LLC. accreditation lists can be found on our websites listed above.

- Subcontracted samples will be identified by the Accreditation number of the subcontract laboratory in the analyst field for each analyte and the appropriate laboratory will be listed here. None

- Data Qualifiers (DQ) Flags provide additional information in regards to the receipt, analysis or quality control of a sample. These are indicated under the DQ Flags Column on your report and listed here if necessary: Data Qualifier (DQ) Flags: None

SAMPLE STATE SPECIFIC NOTES:

Additional Narrative or Comments: None

We appreciate the opportunity to provide you with laboratory services. If you have any questions regarding the enclosed report, please contact the laboratory and we will be happy to assist you.

A & L Laboratory: Accreditations: Maine ME00021, New Hampshire 2501, Maine Radon Registration ID # SPC20

Granite State Analytical Services, LLC: Accreditations: New Hampshire 1015; Maine NH00003;

Massachusetts M-NH0003; Rhode Island 101513; Vermont VT-101507

Page 1 of 2

DRINKING WATER COMPLIANCE REPORT

| DATE PRINTED: | 06/03/2021 | CHEMICAL RESULTS FOR THE 2ND QUARTER 2021 | Passes |  | Legend |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| SAMPLE ID #: | 2105-04069-001 |  | LAB ID#: | 1015 |  |  |  |  |  |  |  |
|  |  |  |  |  |  | Fails EPA Primary |  |  |  |
| SAMPLED BY: | Eaton, George |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | Fails EPA Secondary |  |  |  |
| SAMPLE CATEGORY: | Routine Sample |  |  |  |  | Fails State Guideline |  |  |  |
| SYSTEM NAME: | Seabrook Water Dept |  |  |  |  | Attention |  |  |  |  |  |
| EPA ID#: | 2111010 |  |  |  | DATE & TIME COLLECTED: | 05/27/2021 | 11:28AM |
| SYSTEM TOWN: | Seabrook |  |  |  | DATE & TIME RECEIVED: | 05/27/2021 | 12:31PM |
| SAMPLE AGENT #: | 603-474-9921 |  |  |  | WATER SYS TYPE: | Community |  |  |  |
| SAMPLE LOCATION: | 503 RILEY PUMPHOUSE / GPW 3 / 003 |  |  | RECEIPT TEMP: | ON ICE 12.1° CELSIUS |
| BAR CODE: |  |  |  |  | CLIENT JOB #: |  |  |  |  |  |
| Test Description | Results | Test Units Pass | DQ | RL | Limit | Method | Analyst | Date & Time |
|  |  | /Fail | Flag |  |  |  |  |  | Analyzed |
| Calcium* | 49.2 | mg/L |  | 1 | No Limit | EPA 200.7 | JLR-NH 06/02/2021 02:16PM |
| Hardness (calc.)* | 172 | mg CaCO3/L |  | 2 | No Limit | EPA 200.7 | JLR-NH 06/02/2021 02:16PM |
| Magnesium* | 12.0 | mg/L |  | 1 | No Limit | EPA 200.7 | JLR-NH 06/02/2021 02:16PM |

Page 2 of 2

Laboratory Report

| Seabrook Water Dept | Date Printed: | 06/03/2021 |
| --- | --- | --- |
| 550 Route 107 | Work Order #: | 2105-04071 |
| Seabrook, NH 03874 | Client Job #: |  |
|  | Date Received: | 05/27/2021 |
|  | Sample collected in: | New Hampshire |

Attached please find results for the analysis of the samples received on the date referenced above.

Unless otherwise noted in the attached report, the analyses performed met the requirements of the analyzing laboratory's Quality Assurance Plan, Standard Operating Procedures and State Accreditation. This certificate shall not be reproduced, except in full, without the written approval of the analyzing laboratory. The results presented in this report relate to the samples listed on the following pages in the condition in which they were received. Accreditation for each analyte is identified by the * symbol following the analyte name. Location of our analyzing laboratory is identified by the code in the Analyst Column.

| A & L Laboratory: | Granite State Analytical Services LLC: |
| --- | --- |
| Identified by ME in Analyst Column | Identified by NH in Analyst Column |
| 155 Center Street, Auburn, Maine 04210 | 22 Manchester Road, Derry, NH 03038 |
| www.allaboratory.com | www.granitestateanalytical.com |

ANALYSIS RELATED NOTES:

- RL: "Reporting limit" means the lowest level of an analyte that can be accurately recovered from the matrix of interest.

- A & L Laboratory / Granite State Analytical Services LLC. accreditation lists can be found on our websites listed above.

- Subcontracted samples will be identified by the Accreditation number of the subcontract laboratory in the analyst field for each analyte and the appropriate laboratory will be listed here. None

- Data Qualifiers (DQ) Flags provide additional information in regards to the receipt, analysis or quality control of a sample. These are indicated under the DQ Flags Column on your report and listed here if necessary: Data Qualifier (DQ) Flags: None

SAMPLE STATE SPECIFIC NOTES:

Additional Narrative or Comments: None

We appreciate the opportunity to provide you with laboratory services. If you have any questions regarding the enclosed report, please contact the laboratory and we will be happy to assist you.

A & L Laboratory: Accreditations: Maine ME00021, New Hampshire 2501, Maine Radon Registration ID # SPC20

Granite State Analytical Services, LLC: Accreditations: New Hampshire 1015; Maine NH00003;

Massachusetts M-NH0003; Rhode Island 101513; Vermont VT-101507

Page 1 of 2

DRINKING WATER COMPLIANCE REPORT

| DATE PRINTED: | 06/03/2021 | CHEMICAL RESULTS FOR THE 2ND QUARTER 2021 | Passes |  | Legend |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| SAMPLE ID #: | 2105-04071-001 |  | LAB ID#: | 1015 |  |  |  |  |  |  |  |
|  |  |  |  |  |  | Fails EPA Primary |  |  |  |
| SAMPLED BY: | Eaton, George |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | Fails EPA Secondary |  |  |  |
| SAMPLE CATEGORY: | Routine Sample |  |  |  |  | Fails State Guideline |  |  |  |
| SYSTEM NAME: | Seabrook Water Dept |  |  |  |  | Attention |  |  |  |  |  |
| EPA ID#: | 2111010 |  |  |  | DATE & TIME COLLECTED: | 05/27/2021 | 11:36AM |
| SYSTEM TOWN: | Seabrook |  |  |  | DATE & TIME RECEIVED: | 05/27/2021 | 12:31PM |
| SAMPLE AGENT #: | 603-474-9921 |  |  |  | WATER SYS TYPE: | Community |  |  |  |
| SAMPLE LOCATION: | 501 46 TRUE WELL FIELD TREATMENT |  |  | RECEIPT TEMP: | ON ICE 12.1° CELSIUS |
|  | PLANT / GPW 1 / 001 |  |  |  | CLIENT JOB #: |  |  |  |  |  |
| BAR CODE: |  |  |  |  |  |  |  |  |  |  |
| Test Description | Results | Test Units Pass | DQ | RL | Limit | Method | Analyst | Date & Time |
|  |  | /Fail | Flag |  |  |  |  |  | Analyzed |
| Calcium* | 42.1 | mg/L |  | 1 | No Limit | EPA 200.7 | JLR-NH 06/02/2021 02:21PM |
| Hardness (calc.)* | 141 | mg CaCO3/L |  | 2 | No Limit | EPA 200.7 | JLR-NH 06/02/2021 02:21PM |
| Magnesium* | 8.6 | mg/L |  | 1 | No Limit | EPA 200.7 | JLR-NH 06/02/2021 02:21PM |

Page 2 of 2