Page 1 of 10

Laboratory Report

| Champlain Valley Edu Services | 200674 |
| --- | --- |

1585 Military Turnpike

Plattsburgh, NY 12901

Atten:	Stephanie Trombly

PROJECT:	MoriahCS Lead in School Taps

WORK ORDER:	2103-07881

DATE RECEIVED:	March 25, 2021

DATE REPORTED:	April 08, 2021

SAMPLER:	Joe Kazlo

Enclosed please find the results of the analyses performed for the samples referenced on the attached chain of custody located at the end of this report.

The column labeled Lab/Tech in the accompanying report denotes the laboratory facility where the testing was performed and the technician who conducted the assay. A "W" designates the Williston, VT lab under NELAC certification ELAP 11263; "R" designates the Lebanon, NH facility under certification NH 2037 and “N” the Plattsburgh, NY lab under certification ELAP 11892. “Sub” indicates the testing was performed by a subcontracted laboratory. The accreditation status of the subcontracted lab is referenced in the corresponding NELAC and Qual fields.

This NELAC column also denotes the accreditation status of each laboratory for each reported parameter. “A” indicates the referenced laboratory is NELAC accredited for the parameter reported. “N” indicates the laboratory is not accredited. “U” indicates that NELAC does not offer accreditation for that parameter in that specific matrix. Test results denoted with an “A” meet all National Environmental Laboratory Accreditation Program requirements except where denoted by pertinent data qualifiers. Test results are representative of the samples as they were received at the laboratory.

Endyne, Inc. warrants, to the best of its knowledge and belief, the accuracy of the analytical test results contained in this report, but makes no other warranty, expressed or implied, especially no warranties of merchantability or fitness for a particular purpose.

Reviewed by:

Christina A Lafountain

Laboratory Director	Plattsburgh, NY

|  |  |  | www.endynelabs.com |  |
| --- | --- | --- | --- | --- |
| ELAP 11263 | 160 James Brown Dr., Williston, VT 05495 | 315 New York Rd., Plattsburgh, NY 12903 | ELAP 11892 |
|  | Ph 802-879-4333 | Fax 802-879-7103 | Ph 518-563-1720 Fax 518-563-0052 |  |

|  |  |  | Laboratory Report | Page 2 of 10 |  |
| --- | --- | --- | --- | --- | --- |
|  | CLIENT: | Champlain Valley Edu Services | WORK ORDER: | 2103-07881 |  |
|  | PROJECT: | MoriahCS Lead in School Taps | DATE RECEIVED: | 3/25/21 |  |

001

Site:  KS1	Stagnant:	8.00	Hrs	Date Sampled:	3/24/21	Time: 21:00

|  |  | Parameter |  | Result |  | Units |  | Method | Analysis Date |  | Lab/Tech |  | NELAC |  | Qual. |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Lead, Total | < 0.0010 | mg/L | EPA 200.8 | 3/31/21 | W SJM |  |  | A |  |  |  |  |
| 002 | Site: KS2 |  |  |  |  |  |  |  |  | Stagnant: | 8.02 | Hrs | Date Sampled: | 3/24/21 | Time: 21:01 |
|  |  | Parameter |  | Result |  | Units |  | Method | Analysis Date |  | Lab/Tech |  | NELAC |  | Qual. |
| Lead, Total | < 0.0010 | mg/L | EPA 200.8 | 3/31/21 | W SJM |  |  | A |  |  |  |  |
| 003 | Site: KS3 |  |  |  |  |  |  |  |  | Stagnant: | 8.03 | Hrs | Date Sampled: | 3/24/21 | Time: 21:02 |
|  |  | Parameter |  | Result |  | Units |  | Method | Analysis Date |  | Lab/Tech |  | NELAC |  | Qual. |
| Lead, Total | 0.0061 | mg/L | EPA 200.8 | 3/31/21 | W SJM |  |  | A |  |  |  |  |
| 004 | Site: KS4 |  |  |  |  |  |  |  |  | Stagnant: | 8.05 | Hrs | Date Sampled: | 3/24/21 | Time: 21:03 |
|  |  | Parameter |  | Result |  | Units |  | Method | Analysis Date |  | Lab/Tech |  | NELAC |  | Qual. |
| Lead, Total | 0.0022 | mg/L | EPA 200.8 | 3/31/21 | W SJM |  |  | A |  |  |  |  |
| 005 | Site: KS5 |  |  |  |  |  |  |  |  | Stagnant: | 8.07 | Hrs | Date Sampled: | 3/24/21 | Time: 21:04 |
|  |  | Parameter |  | Result |  | Units |  | Method | Analysis Date |  | Lab/Tech |  | NELAC |  | Qual. |
| Lead, Total | < 0.0010 | mg/L | EPA 200.8 | 3/31/21 | W SJM |  |  | A |  |  |  |  |
| 006 | Site: KS6 |  |  |  |  |  |  |  |  | Stagnant: | 8.08 | Hrs | Date Sampled: | 3/24/21 | Time: 21:05 |
|  |  | Parameter |  | Result |  | Units |  | Method | Analysis Date |  | Lab/Tech |  | NELAC |  | Qual. |
| Lead, Total | 0.0186 | mg/L | EPA 200.8 | 3/31/21 | W SJM |  |  | A |  |  |  |  |
| 007 | Site: KS7 |  |  |  |  |  |  |  |  | Stagnant: | 8.10 | Hrs | Date Sampled: | 3/24/21 | Time: 21:06 |
|  |  | Parameter |  | Result |  | Units |  | Method | Analysis Date |  | Lab/Tech |  | NELAC |  | Qual. |
| Lead, Total | 0.0033 | mg/L | EPA 200.8 | 3/31/21 | W SJM |  |  | A |  |  |  |  |
| 008 | Site: KS8 |  |  |  |  |  |  |  |  | Stagnant: | 8.12 | Hrs | Date Sampled: | 3/24/21 | Time: 21:07 |
|  |  | Parameter |  | Result |  | Units |  | Method | Analysis Date |  | Lab/Tech |  | NELAC |  | Qual. |
| Lead, Total | 0.0018 | mg/L | EPA 200.8 | 3/31/21 | W SJM |  |  | A |  |  |  |  |
| 009 | Site: KS9 |  |  |  |  |  |  |  |  | Stagnant: | 8.13 | Hrs | Date Sampled: | 3/24/21 | Time: 21:08 |
|  |  | Parameter |  | Result |  | Units |  | Method | Analysis Date |  | Lab/Tech |  | NELAC |  | Qual. |
| Lead, Total | 0.0028 | mg/L | EPA 200.8 | 3/31/21 | W SJM |  |  | A |  |  |  |  |
| 010 | Site: KS10 |  |  |  |  |  |  |  |  | Stagnant: | 8.15 | Hrs | Date Sampled: | 3/24/21 | Time: 21:09 |

Parameter	Result	Units	Method	Analysis Date	Lab/Tech	NELAC	Qual.

Page 3 of 10

Laboratory Report

|  |  | CLIENT: | Champlain Valley Edu Services |  |  |  |  |  |  | WORK ORDER: | 2103-07881 |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | PROJECT: MoriahCS Lead in School Taps |  |  |  |  |  |  | DATE RECEIVED: | 3/25/21 |  |  |  |  |  |  |
| Lead, Total | 0.0083 | mg/L | EPA 200.8 | 3/31/21 |  | W SJM |  |  | A |  |  |  |  |
| 011 | Site: | KS11 |  |  |  |  |  | Stagnant: | 8.17 | Hrs | Date Sampled: | 3/24/21 | Time: 21:10 |
|  |  | Parameter |  | Result |  | Units |  | Method |  | Analysis Date |  |  | Lab/Tech |  | NELAC |  | Qual. |
| Lead, Total | 0.0047 | mg/L | EPA 200.8 | 3/31/21 |  | W SJM |  |  | A |  |  |  |  |
| 012 | Site: | Dark Room |  |  |  |  |  | Stagnant: | 9.52 | Hrs | Date Sampled: | 3/24/21 | Time: 5:31 |
|  |  | Parameter |  | Result |  | Units |  | Method |  | Analysis Date |  |  | Lab/Tech |  | NELAC |  | Qual. |
| Lead, Total | 0.0440 | mg/L | EPA 200.8 | 3/31/21 |  | W SJM |  |  | A |  |  |  |  |
| 013 | Site: | Custodial Office S1 |  |  |  |  |  | Stagnant: | 8.02 | Hrs | Date Sampled: | 3/24/21 | Time: 4:01 |
|  |  | Parameter |  | Result |  | Units |  | Method |  | Analysis Date |  |  | Lab/Tech |  | NELAC |  | Qual. |
| Lead, Total | 0.0012 | mg/L | EPA 200.8 | 3/31/21 |  | W SJM |  |  | A |  |  |  |  |
| 014 | Site: | E15 |  |  |  |  |  | Stagnant: | 8.03 | Hrs | Date Sampled: | 3/24/21 | Time: 4:02 |
|  |  | Parameter |  | Result |  | Units |  | Method |  | Analysis Date |  |  | Lab/Tech |  | NELAC |  | Qual. |
| Lead, Total | 0.0011 | mg/L | EPA 200.8 | 3/31/21 |  | W SJM |  |  | A |  |  |  |  |
| 015 | Site: | F1 |  |  |  |  |  | Stagnant: | 8.05 | Hrs | Date Sampled: | 3/24/21 | Time: 4:03 |
|  |  | Parameter |  | Result |  | Units |  | Method |  | Analysis Date |  |  | Lab/Tech |  | NELAC |  | Qual. |
| Lead, Total | < 0.0010 | mg/L | EPA 200.8 | 3/31/21 |  | W SJM |  |  | A |  |  |  |  |
| 016 | Site: | F2 |  |  |  |  |  | Stagnant: | 8.07 | Hrs | Date Sampled: | 3/24/21 | Time: 4:04 |
|  |  | Parameter |  | Result |  | Units |  | Method |  | Analysis Date |  |  | Lab/Tech |  | NELAC |  | Qual. |
| Lead, Total | < 0.0010 | mg/L | EPA 200.8 | 3/31/21 |  | W SJM |  |  | A |  |  |  |  |
| 017 | Site: | RM 165 S1 |  |  |  |  |  | Stagnant: | 8.08 | Hrs | Date Sampled: | 3/24/21 | Time: 4:05 |
|  |  | Parameter |  | Result |  | Units |  | Method |  | Analysis Date |  |  | Lab/Tech |  | NELAC |  | Qual. |
| Lead, Total | 0.0108 | mg/L | EPA 200.8 | 3/31/21 |  | W SJM |  |  | A |  |  |  |  |
| 018 | Site: | RM 165 S2 |  |  |  |  |  | Stagnant: | 8.10 | Hrs | Date Sampled: | 3/24/21 | Time: 4:06 |
|  |  | Parameter |  | Result |  | Units |  | Method |  | Analysis Date |  |  | Lab/Tech |  | NELAC |  | Qual. |
| Lead, Total | 0.0052 | mg/L | EPA 200.8 | 3/31/21 |  | W SJM |  |  | A |  |  |  |  |
| 019 | Site: | RM 165 S3 |  |  |  |  |  | Stagnant: | 8.12 | Hrs | Date Sampled: | 3/24/21 | Time: 4:07 |
|  |  | Parameter |  | Result |  | Units |  | Method |  | Analysis Date |  |  | Lab/Tech |  | NELAC |  | Qual. |

Lead, Total	0.0112	mg/L	EPA 200.8	3/31/21	W SJM	A

|  |  |  | Laboratory Report | Page 4 of 10 |  |
| --- | --- | --- | --- | --- | --- |
|  | CLIENT: | Champlain Valley Edu Services | WORK ORDER: | 2103-07881 |  |
|  | PROJECT: | MoriahCS Lead in School Taps | DATE RECEIVED: | 3/25/21 |  |

020

Site:  RM 166 S1	Stagnant:	8.13	Hrs	Date Sampled:	3/24/21	Time:  4:08

|  |  | Parameter |  |  | Result |  | Units |  | Method | Analysis Date |  | Lab/Tech |  | NELAC |  | Qual. |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Lead, Total |  | 0.0041 | mg/L | EPA 200.8 | 3/31/21 | W SJM |  |  | A |  |  |  |  |
| 021 | Site: RM 166 S2 |  |  |  |  |  |  |  |  | Stagnant: | 8.15 | Hrs | Date Sampled: | 3/24/21 | Time: 4:09 |
|  |  | Parameter |  |  | Result |  | Units |  | Method | Analysis Date |  | Lab/Tech |  | NELAC |  | Qual. |
| Lead, Total |  | 0.0349 | mg/L | EPA 200.8 | 3/31/21 | W SJM |  |  | A |  |  |  |  |
| 022 | Site: RM 160 |  |  |  |  |  |  |  |  | Stagnant: | 8.17 | Hrs | Date Sampled: | 3/24/21 | Time: 4:10 |
|  |  | Parameter |  |  | Result |  | Units |  | Method | Analysis Date |  | Lab/Tech |  | NELAC |  | Qual. |
| Lead, Total |  | 0.0072 | mg/L | EPA 200.8 | 3/31/21 | W SJM |  |  | A |  |  |  |  |
| 023 | Site: RM 136 |  |  |  |  |  |  |  |  | Stagnant: | 8.18 | Hrs | Date Sampled: | 3/24/21 | Time: 4:11 |
|  |  | Parameter |  |  | Result |  | Units |  | Method | Analysis Date |  | Lab/Tech |  | NELAC |  | Qual. |
| Lead, Total |  | 0.0866 | mg/L | EPA 200.8 | 3/31/21 | W SJM |  |  | A |  |  |  |  |
| 024 | Site: HS Nurse S1 |  |  |  |  |  |  |  |  | Stagnant: | 8.20 | Hrs | Date Sampled: | 3/24/21 | Time: 4:12 |
|  |  | Parameter |  |  | Result |  | Units |  | Method | Analysis Date |  | Lab/Tech |  | NELAC |  | Qual. |
| Lead, Total |  | 0.0019 | mg/L | EPA 200.8 | 3/31/21 | W SJM |  |  | A |  |  |  |  |
| 025 | Site: HS Nurse S2 |  |  |  |  |  |  |  |  | Stagnant: | 8.22 | Hrs | Date Sampled: | 3/24/21 | Time: 4:13 |
|  |  | Parameter |  |  | Result |  | Units |  | Method | Analysis Date |  | Lab/Tech |  | NELAC |  | Qual. |
| Metals Digestion HNO3-HCl | Digested |  |  |  | EPA 200.7/200.8 | 4/5/21 | W SJM |  |  | A |  |  |  |  |
| Lead, Total |  | 0.0262 | mg/L | EPA 200.8 | 4/6/21 | W SJM |  |  | A |  |  |  |  |
| 026 | Site: HS Office Sink |  |  |  |  |  |  |  |  | Stagnant: | 8.23 | Hrs | Date Sampled: | 3/24/21 | Time: 4:14 |
|  |  | Parameter |  |  | Result |  | Units |  | Method | Analysis Date |  | Lab/Tech |  | NELAC |  | Qual. |
| Lead, Total |  | 0.0057 | mg/L | EPA 200.8 | 3/31/21 | W SJM |  |  | A |  |  |  |  |
| 027 | Site: | F3 |  |  |  |  |  |  |  |  | Stagnant: | 8.25 | Hrs | Date Sampled: | 3/24/21 | Time: 4:15 |
|  |  | Parameter |  |  | Result |  | Units |  | Method | Analysis Date |  | Lab/Tech |  | NELAC |  | Qual. |
| Lead, Total |  | < 0.0010 | mg/L | EPA 200.8 | 3/31/21 | W SJM |  |  | A |  |  |  |  |
| 028 | Site: | F4 |  |  |  |  |  |  |  |  | Stagnant: | 8.27 | Hrs | Date Sampled: | 3/24/21 | Time: 4:16 |
|  |  | Parameter |  |  | Result |  | Units |  | Method | Analysis Date |  | Lab/Tech |  | NELAC |  | Qual. |
| Lead, Total |  | < 0.0010 | mg/L | EPA 200.8 | 3/31/21 | W SJM |  |  | A |  |  |  |  |
| 029 | Site: | F5 |  |  |  |  |  |  |  |  | Stagnant: | 8.28 | Hrs | Date Sampled: | 3/24/21 | Time: 4:17 |

Page 5 of 10

Laboratory Report

|  |  | CLIENT: | Champlain Valley Edu Services |  |  |  |  |  |  | WORK ORDER: | 2103-07881 |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | PROJECT: MoriahCS Lead in School Taps |  |  |  |  |  |  | DATE RECEIVED: | 3/25/21 |  |  |  |  |  |  |
|  |  | Parameter |  | Result |  | Units |  | Method |  | Analysis Date |  |  | Lab/Tech |  | NELAC |  | Qual. |
| Lead, Total | < 0.0010 | mg/L | EPA 200.8 | 3/31/21 |  | W SJM |  |  | A |  |  |  |  |
| 030 | Site: | F6 |  |  |  |  |  | Stagnant: | 8.30 | Hrs | Date Sampled: | 3/24/21 | Time: 4:18 |
|  |  | Parameter |  | Result |  | Units |  | Method |  | Analysis Date |  |  | Lab/Tech |  | NELAC |  | Qual. |
| Lead, Total | 0.0019 | mg/L | EPA 200.8 | 3/31/21 |  | W SJM |  |  | A |  |  |  |  |
| 031 | Site: | F7 |  |  |  |  |  | Stagnant: | 8.32 | Hrs | Date Sampled: | 3/24/21 | Time: 4:19 |
|  |  | Parameter |  | Result |  | Units |  | Method |  | Analysis Date |  |  | Lab/Tech |  | NELAC |  | Qual. |
| Lead, Total | < 0.0010 | mg/L | EPA 200.8 | 3/31/21 |  | W SJM |  |  | A |  |  |  |  |
| 032 | Site: | RM 101 S1 |  |  |  |  |  | Stagnant: | 8.33 | Hrs | Date Sampled: | 3/24/21 | Time: 4:20 |
|  |  | Parameter |  | Result |  | Units |  | Method |  | Analysis Date |  |  | Lab/Tech |  | NELAC |  | Qual. |
| Lead, Total | 0.0339 | mg/L | EPA 200.8 | 3/31/21 |  | W SJM |  |  | A |  |  |  |  |
| 033 | Site: | RM 102 S1 |  |  |  |  |  | Stagnant: | 8.35 | Hrs | Date Sampled: | 3/24/21 | Time: 4:21 |
|  |  | Parameter |  | Result |  | Units |  | Method |  | Analysis Date |  |  | Lab/Tech |  | NELAC |  | Qual. |
| Lead, Total | 0.0046 | mg/L | EPA 200.8 | 3/31/21 |  | W SJM |  |  | A |  |  |  |  |
| 034 | Site: | RM 103 S1 |  |  |  |  |  | Stagnant: | 8.37 | Hrs | Date Sampled: | 3/24/21 | Time: 4:22 |
|  |  | Parameter |  | Result |  | Units |  | Method |  | Analysis Date |  |  | Lab/Tech |  | NELAC |  | Qual. |
| Lead, Total | 0.0051 | mg/L | EPA 200.8 | 3/31/21 |  | W SJM |  |  | A |  |  |  |  |
| 035 | Site: | RM 104 S1 |  |  |  |  |  | Stagnant: | 8.38 | Hrs | Date Sampled: | 3/24/21 | Time: 4:23 |
|  |  | Parameter |  | Result |  | Units |  | Method |  | Analysis Date |  |  | Lab/Tech |  | NELAC |  | Qual. |
| Lead, Total | 0.0022 | mg/L | EPA 200.8 | 3/31/21 |  | W SJM |  |  | A |  |  |  |  |
| 036 | Site: | RM 105 S1 |  |  |  |  |  | Stagnant: | 8.40 | Hrs | Date Sampled: | 3/24/21 | Time: 4:24 |
|  |  | Parameter |  | Result |  | Units |  | Method |  | Analysis Date |  |  | Lab/Tech |  | NELAC |  | Qual. |
| Lead, Total | 0.0086 | mg/L | EPA 200.8 | 3/31/21 |  | W SJM |  |  | A |  |  |  |  |
| 037 | Site: | F8 - NOT Rec'd, DUP Site |  |  |  |  |  | Stagnant: | 0.00 | Hrs | Date Sampled: | 3/24/21 | Time: 0:00 |
|  |  | Parameter |  | Result |  | Units |  | Method |  | Analysis Date |  |  | Lab/Tech |  | NELAC |  | Qual. |
| No analysis |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 038 | Site: Elem Nurse S1 |  |  |  |  |  | Stagnant: | 8.43 | Hrs | Date Sampled: | 3/24/21 | Time: 4:26 |
|  |  | Parameter |  | Result |  | Units |  | Method |  | Analysis Date |  |  | Lab/Tech |  | NELAC |  | Qual. |

Lead, Total	0.0199	mg/L	EPA 200.8	3/31/21	W SJM	A

|  |  |  | Laboratory Report | Page 6 of 10 |  |
| --- | --- | --- | --- | --- | --- |
|  | CLIENT: | Champlain Valley Edu Services | WORK ORDER: | 2103-07881 |  |
|  | PROJECT: | MoriahCS Lead in School Taps | DATE RECEIVED: | 3/25/21 |  |

039

Site:  Elem Office S1	Stagnant:	8.45	Hrs	Date Sampled:	3/24/21	Time:  4:27

|  |  | Parameter |  |  | Result |  | Units |  | Method | Analysis Date |  | Lab/Tech |  | NELAC |  | Qual. |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Lead, Total |  | 0.0350 | mg/L | EPA 200.8 | 3/31/21 | W SJM |  |  | A |  |  |  |  |
| 040 | Site: | F9 |  |  |  |  |  |  |  |  | Stagnant: | 8.47 | Hrs | Date Sampled: | 3/24/21 | Time: 4:28 |
|  |  | Parameter |  |  | Result |  | Units |  | Method | Analysis Date |  | Lab/Tech |  | NELAC |  | Qual. |
| Lead, Total |  | < 0.0010 | mg/L | EPA 200.8 | 3/31/21 | W SJM |  |  | A |  |  |  |  |
| 041 | Site: | F13 |  |  |  |  |  |  |  |  | Stagnant: | 8.48 | Hrs | Date Sampled: | 3/24/21 | Time: 4:29 |
|  |  | Parameter |  |  | Result |  | Units |  | Method | Analysis Date |  | Lab/Tech |  | NELAC |  | Qual. |
| Lead, Total |  | < 0.0010 | mg/L | EPA 200.8 | 3/31/21 | W SJM |  |  | A |  |  |  |  |
| 042 | Site: BR1 |  |  |  |  |  |  |  |  | Stagnant: | 8.50 | Hrs | Date Sampled: | 3/24/21 | Time: 4:30 |
|  |  | Parameter |  |  | Result |  | Units |  | Method | Analysis Date |  | Lab/Tech |  | NELAC |  | Qual. |
| Lead, Total |  | 0.0012 | mg/L | EPA 200.8 | 3/31/21 | W SJM |  |  | A |  |  |  |  |
| 043 | Site: KS12 |  |  |  |  |  |  |  |  | Stagnant: | 8.18 | Hrs | Date Sampled: | 3/24/21 | Time: 21:11 |
|  |  | Parameter |  |  | Result |  | Units |  | Method | Analysis Date |  | Lab/Tech |  | NELAC |  | Qual. |
| Lead, Total |  | < 0.0010 | mg/L | EPA 200.8 | 3/31/21 | W SJM |  |  | A |  |  |  |  |
| 044 | Site: KP1 |  |  |  |  |  |  |  |  | Stagnant: | 8.20 | Hrs | Date Sampled: | 3/24/21 | Time: 21:12 |
|  |  | Parameter |  |  | Result |  | Units |  | Method | Analysis Date |  | Lab/Tech |  | NELAC |  | Qual. |
| Lead, Total |  | 0.0015 | mg/L | EPA 200.8 | 3/31/21 | W SJM |  |  | A |  |  |  |  |
| 045 | Site: KP2 |  |  |  |  |  |  |  |  | Stagnant: | 8.22 | Hrs | Date Sampled: | 3/24/21 | Time: 21:13 |
|  |  | Parameter |  |  | Result |  | Units |  | Method | Analysis Date |  | Lab/Tech |  | NELAC |  | Qual. |
| Lead, Total |  | 0.0015 | mg/L | EPA 200.8 | 3/31/21 | W SJM |  |  | A |  |  |  |  |
| 046 | Site: KS13 |  |  |  |  |  |  |  |  | Stagnant: | 8.23 | Hrs | Date Sampled: | 3/24/21 | Time: 21:14 |
|  |  | Parameter |  |  | Result |  | Units |  | Method | Analysis Date |  | Lab/Tech |  | NELAC |  | Qual. |
| Lead, Total |  | < 0.0010 | mg/L | EPA 200.8 | 3/31/21 | W SJM |  |  | A |  |  |  |  |
| 047 | Site: | F8 |  |  |  |  |  |  |  |  | Stagnant: | 8.58 | Hrs | Date Sampled: | 3/24/21 | Time: 4:35 |
|  |  | Parameter |  |  | Result |  | Units |  | Method | Analysis Date |  | Lab/Tech |  | NELAC |  | Qual. |
| Lead, Total |  | < 0.0010 | mg/L | EPA 200.8 | 3/31/21 | W SJM |  |  | A |  |  |  |  |
| 048 | Site: RM 107 S1 |  |  |  |  |  |  |  |  | Stagnant: | 8.60 | Hrs | Date Sampled: | 3/24/21 | Time: 4:36 |

Parameter	Result	Units	Method	Analysis Date	Lab/Tech	NELAC	Qual.

Page 7 of 10

Laboratory Report

|  |  | CLIENT: | Champlain Valley Edu Services |  |  |  |  |  |  | WORK ORDER: | 2103-07881 |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | PROJECT: MoriahCS Lead in School Taps |  |  |  |  |  |  | DATE RECEIVED: | 3/25/21 |  |  |  |  |  |  |
| Lead, Total | 0.0036 | mg/L | EPA 200.8 | 3/31/21 |  | W SJM |  |  | A |  |  |  |  |
| 049 | Site: | RM 108 S1 |  |  |  |  |  | Stagnant: | 8.62 | Hrs | Date Sampled: | 3/24/21 | Time: 4:37 |
|  |  | Parameter |  | Result |  | Units |  | Method |  | Analysis Date |  |  | Lab/Tech |  | NELAC |  | Qual. |
| Lead, Total | 0.0024 | mg/L | EPA 200.8 | 3/31/21 |  | W SJM |  |  | A |  |  |  |  |
| 050 | Site: | RM 109 S1 |  |  |  |  |  | Stagnant: | 8.63 | Hrs | Date Sampled: | 3/24/21 | Time: 4:38 |
|  |  | Parameter |  | Result |  | Units |  | Method |  | Analysis Date |  |  | Lab/Tech |  | NELAC |  | Qual. |
| Lead, Total | 0.0024 | mg/L | EPA 200.8 | 3/31/21 |  | W SJM |  |  | A |  |  |  |  |
| 051 | Site: | RM 110 S1 |  |  |  |  |  | Stagnant: | 8.65 | Hrs | Date Sampled: | 3/24/21 | Time: 4:39 |
|  |  | Parameter |  | Result |  | Units |  | Method |  | Analysis Date |  |  | Lab/Tech |  | NELAC |  | Qual. |
| Lead, Total | 0.0018 | mg/L | EPA 200.8 | 3/31/21 |  | W SJM |  |  | A |  |  |  |  |
| 052 | Site: | RM 111 S1 |  |  |  |  |  | Stagnant: | 8.67 | Hrs | Date Sampled: | 3/24/21 | Time: 4:40 |
|  |  | Parameter |  | Result |  | Units |  | Method |  | Analysis Date |  |  | Lab/Tech |  | NELAC |  | Qual. |
| Lead, Total | 0.0050 | mg/L | EPA 200.8 | 3/31/21 |  | W SJM |  |  | A |  |  |  |  |
| 053 | Site: | RM 112 S1 |  |  |  |  |  | Stagnant: | 8.68 | Hrs | Date Sampled: | 3/24/21 | Time: 4:41 |
|  |  | Parameter |  | Result |  | Units |  | Method |  | Analysis Date |  |  | Lab/Tech |  | NELAC |  | Qual. |
| Lead, Total | 0.0092 | mg/L | EPA 200.8 | 3/31/21 |  | W SJM |  |  | A |  |  |  |  |
| 054 | Site: | RM 113 S1 |  |  |  |  |  | Stagnant: | 8.70 | Hrs | Date Sampled: | 3/24/21 | Time: 4:42 |
|  |  | Parameter |  | Result |  | Units |  | Method |  | Analysis Date |  |  | Lab/Tech |  | NELAC |  | Qual. |
| Lead, Total | 0.0095 | mg/L | EPA 200.8 | 3/31/21 |  | W SJM |  |  | A |  |  |  |  |
| 055 | Site: | RM 114 S1 |  |  |  |  |  | Stagnant: | 8.72 | Hrs | Date Sampled: | 3/24/21 | Time: 4:43 |
|  |  | Parameter |  | Result |  | Units |  | Method |  | Analysis Date |  |  | Lab/Tech |  | NELAC |  | Qual. |
| Lead, Total | 0.0038 | mg/L | EPA 200.8 | 3/31/21 |  | W SJM |  |  | A |  |  |  |  |
| 056 | Site: | RM 115 S1 |  |  |  |  |  | Stagnant: | 8.73 | Hrs | Date Sampled: | 3/24/21 | Time: 4:44 |
|  |  | Parameter |  | Result |  | Units |  | Method |  | Analysis Date |  |  | Lab/Tech |  | NELAC |  | Qual. |
| Lead, Total | 0.0065 | mg/L | EPA 200.8 | 3/31/21 |  | W SJM |  |  | A |  |  |  |  |
| 057 | Site: | RM 116 S1 |  |  |  |  |  | Stagnant: | 8.75 | Hrs | Date Sampled: | 3/24/21 | Time: 4:45 |
|  |  | Parameter |  | Result |  | Units |  | Method |  | Analysis Date |  |  | Lab/Tech |  | NELAC |  | Qual. |

Lead, Total	0.0064	mg/L	EPA 200.8	3/31/21	W SJM	A

|  |  |  | Laboratory Report | Page 8 of 10 |  |
| --- | --- | --- | --- | --- | --- |
|  | CLIENT: | Champlain Valley Edu Services | WORK ORDER: | 2103-07881 |  |
|  | PROJECT: | MoriahCS Lead in School Taps | DATE RECEIVED: | 3/25/21 |  |

058

Site:  RM 117 S1	Stagnant:	8.77	Hrs	Date Sampled:	3/24/21	Time:  4:46

|  |  | Parameter |  | Result |  | Units |  | Method | Analysis Date |  | Lab/Tech |  | NELAC |  | Qual. |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Lead, Total | 0.0046 | mg/L | EPA 200.8 | 3/31/21 | W SJM |  |  | A |  |  |  |  |
| 059 | Site: RM 119 S1 |  |  |  |  |  |  |  |  | Stagnant: | 8.78 | Hrs | Date Sampled: | 3/24/21 | Time: 4:47 |
|  |  | Parameter |  | Result |  | Units |  | Method | Analysis Date |  | Lab/Tech |  | NELAC |  | Qual. |
| Lead, Total | 0.0072 | mg/L | EPA 200.8 | 3/31/21 | W SJM |  |  | A |  |  |  |  |
| 060 | Site: RM 120 S1 |  |  |  |  |  |  |  |  | Stagnant: | 8.80 | Hrs | Date Sampled: | 3/24/21 | Time: 4:48 |
|  |  | Parameter |  | Result |  | Units |  | Method | Analysis Date |  | Lab/Tech |  | NELAC |  | Qual. |
| Lead, Total | 0.0034 | mg/L | EPA 200.8 | 3/31/21 | W SJM |  |  | A |  |  |  |  |
| 061 | Site: RM 121 S1 |  |  |  |  |  |  |  |  | Stagnant: | 8.82 | Hrs | Date Sampled: | 3/24/21 | Time: 4:49 |
|  |  | Parameter |  | Result |  | Units |  | Method | Analysis Date |  | Lab/Tech |  | NELAC |  | Qual. |
| Lead, Total | 0.0010 | mg/L | EPA 200.8 | 3/31/21 | W SJM |  |  | A |  |  |  |  |
| 062 | Site: RM 122 S1 |  |  |  |  |  |  |  |  | Stagnant: | 8.83 | Hrs | Date Sampled: | 3/24/21 | Time: 4:50 |
|  |  | Parameter |  | Result |  | Units |  | Method | Analysis Date |  | Lab/Tech |  | NELAC |  | Qual. |
| Lead, Total | 0.0013 | mg/L | EPA 200.8 | 3/31/21 | W SJM |  |  | A |  |  |  |  |
| 063 | Site: F11 |  |  |  |  |  |  |  |  | Stagnant: | 8.85 | Hrs | Date Sampled: | 3/24/21 | Time: 4:51 |
|  |  | Parameter |  | Result |  | Units |  | Method | Analysis Date |  | Lab/Tech |  | NELAC |  | Qual. |
| Lead, Total | < 0.0010 | mg/L | EPA 200.8 | 3/31/21 | W SJM |  |  | A |  |  |  |  |
| 064 | Site: RM 208 S1 |  |  |  |  |  |  |  |  | Stagnant: | 8.87 | Hrs | Date Sampled: | 3/24/21 | Time: 4:52 |
|  |  | Parameter |  | Result |  | Units |  | Method | Analysis Date |  | Lab/Tech |  | NELAC |  | Qual. |
| Lead, Total | 0.0091 | mg/L | EPA 200.8 | 3/31/21 | W SJM |  |  | A |  |  |  |  |
| 065 | Site: RM 209 S1 |  |  |  |  |  |  |  |  | Stagnant: | 8.88 | Hrs | Date Sampled: | 3/24/21 | Time: 4:53 |
|  |  | Parameter |  | Result |  | Units |  | Method | Analysis Date |  | Lab/Tech |  | NELAC |  | Qual. |
| Lead, Total | 0.0044 | mg/L | EPA 200.8 | 3/31/21 | W SJM |  |  | A |  |  |  |  |
| 066 | Site: RM 210 S1 |  |  |  |  |  |  |  |  | Stagnant: | 8.90 | Hrs | Date Sampled: | 3/24/21 | Time: 4:54 |
|  |  | Parameter |  | Result |  | Units |  | Method | Analysis Date |  | Lab/Tech |  | NELAC |  | Qual. |
| Lead, Total | 0.0037 | mg/L | EPA 200.8 | 3/31/21 | W SJM |  |  | A |  |  |  |  |
| 067 | Site: RM 211 S1 |  |  |  |  |  |  |  |  | Stagnant: | 8.92 | Hrs | Date Sampled: | 3/24/21 | Time: 4:55 |

Parameter	Result	Units	Method	Analysis Date	Lab/Tech	NELAC	Qual.

Page 9 of 10

Laboratory Report

|  |  | CLIENT: | Champlain Valley Edu Services |  |  |  |  |  |  | WORK ORDER: | 2103-07881 |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | PROJECT: MoriahCS Lead in School Taps |  |  |  |  |  |  | DATE RECEIVED: | 3/25/21 |  |  |  |  |  |  |
| Lead, Total | 0.0024 | mg/L | EPA 200.8 | 3/31/21 |  | W SJM |  |  | A |  |  |  |  |
| 068 | Site: | RM 212 S1 |  |  |  |  |  | Stagnant: | 8.93 | Hrs | Date Sampled: | 3/24/21 | Time: 4:56 |
|  |  | Parameter |  | Result |  | Units |  | Method |  | Analysis Date |  |  | Lab/Tech |  | NELAC |  | Qual. |
| Lead, Total | 0.0050 | mg/L | EPA 200.8 | 3/31/21 |  | W SJM |  |  | A |  |  |  |  |
| 069 | Site: | RM 213 S1 |  |  |  |  |  | Stagnant: | 8.95 | Hrs | Date Sampled: | 3/24/21 | Time: 4:57 |
|  |  | Parameter |  | Result |  | Units |  | Method |  | Analysis Date |  |  | Lab/Tech |  | NELAC |  | Qual. |
| Lead, Total | 0.0040 | mg/L | EPA 200.8 | 3/31/21 |  | W SJM |  |  | A |  |  |  |  |
| 070 | Site: | RM 214 S1 |  |  |  |  |  | Stagnant: | 8.97 | Hrs | Date Sampled: | 3/24/21 | Time: 4:58 |
|  |  | Parameter |  | Result |  | Units |  | Method |  | Analysis Date |  |  | Lab/Tech |  | NELAC |  | Qual. |
| Lead, Total | 0.0060 | mg/L | EPA 200.8 | 4/2/21 |  | W SJM |  |  | A |  |  |  |  |
| 071 | Site: | RM 215 S1 |  |  |  |  |  | Stagnant: | 8.98 | Hrs | Date Sampled: | 3/24/21 | Time: 4:59 |
|  |  | Parameter |  | Result |  | Units |  | Method |  | Analysis Date |  |  | Lab/Tech |  | NELAC |  | Qual. |
| Lead, Total | 0.0015 | mg/L | EPA 200.8 | 4/2/21 |  | W SJM |  |  | A |  |  |  |  |
| 072 | Site: | RM 216 S1 |  |  |  |  |  | Stagnant: | 9.00 | Hrs | Date Sampled: | 3/24/21 | Time: 5:00 |
|  |  | Parameter |  | Result |  | Units |  | Method |  | Analysis Date |  |  | Lab/Tech |  | NELAC |  | Qual. |
| Lead, Total | 0.0170 | mg/L | EPA 200.8 | 4/2/21 |  | W SJM |  |  | A |  |  |  |  |
| 073 | Site: | RM 217 S1 |  |  |  |  |  | Stagnant: | 9.02 | Hrs | Date Sampled: | 3/24/21 | Time: 5:01 |
|  |  | Parameter |  | Result |  | Units |  | Method |  | Analysis Date |  |  | Lab/Tech |  | NELAC |  | Qual. |
| Lead, Total | 0.0043 | mg/L | EPA 200.8 | 4/2/21 |  | W SJM |  |  | A |  |  |  |  |
| 074 | Site: | F12 |  |  |  |  |  | Stagnant: | 9.03 | Hrs | Date Sampled: | 3/24/21 | Time: 5:02 |
|  |  | Parameter |  | Result |  | Units |  | Method |  | Analysis Date |  |  | Lab/Tech |  | NELAC |  | Qual. |
| Lead, Total | < 0.0010 | mg/L | EPA 200.8 | 4/2/21 |  | W SJM |  |  | A |  |  |  |  |
| 075 | Site: | RM 221 S1 |  |  |  |  |  | Stagnant: | 9.05 | Hrs | Date Sampled: | 3/24/21 | Time: 5:03 |
|  |  | Parameter |  | Result |  | Units |  | Method |  | Analysis Date |  |  | Lab/Tech |  | NELAC |  | Qual. |
| Lead, Total | 0.0013 | mg/L | EPA 200.8 | 4/2/21 |  | W SJM |  |  | A |  |  |  |  |
| 076 | Site: | RM 223 S1 |  |  |  |  |  | Stagnant: | 9.07 | Hrs | Date Sampled: | 3/24/21 | Time: 5:04 |
|  |  | Parameter |  | Result |  | Units |  | Method |  | Analysis Date |  |  | Lab/Tech |  | NELAC |  | Qual. |

Lead, Total	< 0.0010	mg/L	EPA 200.8	4/2/21	W SJM	A

|  |  |  | Laboratory Report | Page 10 of 10 |  |
| --- | --- | --- | --- | --- | --- |
|  | CLIENT: | Champlain Valley Edu Services | WORK ORDER: | 2103-07881 |  |
|  | PROJECT: | MoriahCS Lead in School Taps | DATE RECEIVED: | 3/25/21 |  |

077

Site:  RM 167 S1	Stagnant:	9.50	Hrs	Date Sampled:	3/24/21	Time:  5:30

|  | Parameter | Result |  | Units |  | Method | Analysis Date |  | Lab/Tech | NELAC |  | Qual. |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Lead, Total | 0.0116 | mg/L | EPA 200.8 | 4/2/21 |  | W SJM | A |  |  |

078

Site:  RM 167 S2	Stagnant:	9.52	Hrs	Date Sampled:	3/24/21	Time:  5:31

|  | Parameter | Result |  | Units |  | Method | Analysis Date |  | Lab/Tech | NELAC |  | Qual. |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Lead, Total | 0.0070 | mg/L | EPA 200.8 | 4/2/21 |  | W SJM | A |  |  |

Test results comply with all NELAC requirements unless otherwise noted. This Laboratory Report includes the client’s COC sample documentation and shall not be reproduced except in full, without written approval of the laboratory.