## Cover
Topic: | Smiths Medical Bivona Tracheostomy Tubes
Date: | 2019-04-17
Index
Tab 1: | Cover Sheet
Tab 2: | Comparison Chart - Smiths Medical and Medtronic
Tab 3: | PriceGuide Benchmarks
Tab 4: | Disclaimer

## Comparison Chart_Tracheostomy
Vendor | Catalog Number | Cuffed or Uncuffed | Inside Diameter (mm) | Outside Diameter (mm) | Length (mm) | Age Indication | Marketed as Elongated? | DEHP-Free? | External Source | Unit of Measure | Conversion Factor | Match Type | Vendor | Catalog Number | Cuffed or Uncuffed | Inside Diameter (mm) | Outside Diameter (mm) | Length (mm) | Age Indication | Marketed as Elongated? | DEHP-Free? | External Source | Unit of Measure | Conversion Factor
Smiths Medical North America | 67SP025 | Cuffed | 2.5mm | 4.0mm | 38.0mm | Pediatrics | No | Yes | https://www.smiths-medical.com/products/tracheostomy/silicone-tracheostomy-tubes/silicone-neonatal-and-pediatric-tracheostomy-tubes/bivona-tts-cuffed-neonatal-and-pediatric-silicone-tracheostomy-tubes | BX | 1 | Equivalent | Medtronic Minimally Invasive | 2.5PCF | Cuffed | 2.5 mm | 4.2 mm | 39 mm | Pediatrics | No | Yes | https://www.medtronic.com/covidien/en-us/products/tracheostomy/shiley-neonatal-pediatric-tracheostomy-tubes.html | EA | 1
Smiths Medical North America | 67SP030 | Cuffed | 3.0mm | 4.7mm | 39.0mm | Pediatrics | No | Yes | https://www.smiths-medical.com/products/tracheostomy/silicone-tracheostomy-tubes/silicone-neonatal-and-pediatric-tracheostomy-tubes/bivona-tts-cuffed-neonatal-and-pediatric-silicone-tracheostomy-tubes | BX | 1 | Equivalent | Medtronic Minimally Invasive | 3.0PCF | Cuffed | 3.0 mm | 4.8 mm | 39 mm | Pediatrics | No | Yes | https://www.medtronic.com/covidien/en-us/products/tracheostomy/shiley-neonatal-pediatric-tracheostomy-tubes.html | EA | 1
Smiths Medical North America | 67SP035 | Cuffed | 3.5mm | 5.3mm | 40.0mm | Pediatrics | No | Yes | https://www.smiths-medical.com/products/tracheostomy/silicone-tracheostomy-tubes/silicone-neonatal-and-pediatric-tracheostomy-tubes/bivona-tts-cuffed-neonatal-and-pediatric-silicone-tracheostomy-tubes | BX | 1 | Equivalent | Medtronic Minimally Invasive | 3.5PCF | Cuffed | 3.5 mm | 5.4 mm | 40 mm | Pediatrics | No | Yes | https://www.medtronic.com/covidien/en-us/products/tracheostomy/shiley-neonatal-pediatric-tracheostomy-tubes.html | EA | 1
Smiths Medical North America | 67SP040 | Cuffed | 4.0mm | 6.0mm | 41.0mm | Pediatrics | No | Yes | https://www.smiths-medical.com/products/tracheostomy/silicone-tracheostomy-tubes/silicone-neonatal-and-pediatric-tracheostomy-tubes/bivona-tts-cuffed-neonatal-and-pediatric-silicone-tracheostomy-tubes | BX | 1 | Equivalent | Medtronic Minimally Invasive | 4.0PCF | Cuffed | 4.0 mm | 6.0 mm | 41 mm | Pediatrics | No | Yes | https://www.medtronic.com/covidien/en-us/products/tracheostomy/shiley-neonatal-pediatric-tracheostomy-tubes.html | EA | 1
Smiths Medical North America | 67SP045 | Cuffed | 4.5mm | 6.7mm | 42.0mm | Pediatrics | No | Yes | https://www.smiths-medical.com/products/tracheostomy/silicone-tracheostomy-tubes/silicone-neonatal-and-pediatric-tracheostomy-tubes/bivona-tts-cuffed-neonatal-and-pediatric-silicone-tracheostomy-tubes | BX | 1 | Equivalent | Medtronic Minimally Invasive | 4.5PCF | Cuffed | 4.5 mm | 6.7 mm | 42 mm | Pediatrics | No | Yes | https://www.medtronic.com/covidien/en-us/products/tracheostomy/shiley-neonatal-pediatric-tracheostomy-tubes.html | EA | 1
Smiths Medical North America | 67SP050 | Cuffed | 5.0mm | 7.3mm | 44.0mm | Pediatrics | No | Yes | https://www.smiths-medical.com/products/tracheostomy/silicone-tracheostomy-tubes/silicone-neonatal-and-pediatric-tracheostomy-tubes/bivona-tts-cuffed-neonatal-and-pediatric-silicone-tracheostomy-tubes | BX | 1 | Equivalent | Medtronic Minimally Invasive | 5.0PCF | Cuffed | 5.0 mm | 7.3 mm | 44 mm | Pediatrics | No | Yes | https://www.medtronic.com/covidien/en-us/products/tracheostomy/shiley-neonatal-pediatric-tracheostomy-tubes.html | EA | 1
Smiths Medical North America | 67SP055 | Cuffed | 5.5mm | 8.0mm | 46.0mm | Pediatrics | No | Yes | https://www.smiths-medical.com/products/tracheostomy/silicone-tracheostomy-tubes/silicone-neonatal-and-pediatric-tracheostomy-tubes/bivona-tts-cuffed-neonatal-and-pediatric-silicone-tracheostomy-tubes | BX | 1 | Equivalent | Medtronic Minimally Invasive | 5.5PCF | Cuffed | 5.5 mm | 7.9 mm | 46 mm | Pediatrics | No | Yes | https://www.medtronic.com/covidien/en-us/products/tracheostomy/shiley-neonatal-pediatric-tracheostomy-tubes.html | EA | 1
Smiths Medical North America | 67P025 | Cuffed | 2.5mm | 4.0mm | 38.0mm | Pediatrics | No | Yes | https://www.smiths-medical.com/products/tracheostomy/silicone-tracheostomy-tubes/silicone-neonatal-and-pediatric-tracheostomy-tubes/bivona-tts-cuffed-neonatal-and-pediatric-silicone-tracheostomy-tubes | BX | 1 | Equivalent | Medtronic Minimally Invasive | 2.5PCF | Cuffed | 2.5 mm | 4.2 mm | 39 mm | Pediatrics | No | Yes | https://www.medtronic.com/covidien/en-us/products/tracheostomy/shiley-neonatal-pediatric-tracheostomy-tubes.html | EA | 1
Smiths Medical North America | 67P030 | Cuffed | 3.0mm | 4.7mm | 39.0mm | Pediatrics | No | Yes | https://www.smiths-medical.com/products/tracheostomy/silicone-tracheostomy-tubes/silicone-neonatal-and-pediatric-tracheostomy-tubes/bivona-tts-cuffed-neonatal-and-pediatric-silicone-tracheostomy-tubes | BX | 1 | Equivalent | Medtronic Minimally Invasive | 3.0PCF | Cuffed | 3.0 mm | 4.8 mm | 39 mm | Pediatrics | No | Yes | https://www.medtronic.com/covidien/en-us/products/tracheostomy/shiley-neonatal-pediatric-tracheostomy-tubes.html | EA | 1
Smiths Medical North America | 67P035 | Cuffed | 3.5mm | 5.3mm | 40.0mm | Pediatrics | No | Yes | https://www.smiths-medical.com/products/tracheostomy/silicone-tracheostomy-tubes/silicone-neonatal-and-pediatric-tracheostomy-tubes/bivona-tts-cuffed-neonatal-and-pediatric-silicone-tracheostomy-tubes | BX | 1 | Equivalent | Medtronic Minimally Invasive | 3.5PCF | Cuffed | 3.5 mm | 5.4 mm | 40 mm | Pediatrics | No | Yes | https://www.medtronic.com/covidien/en-us/products/tracheostomy/shiley-neonatal-pediatric-tracheostomy-tubes.html | EA | 1
Smiths Medical North America | 67P040 | Cuffed | 4.0mm | 6.0mm | 41.0mm | Pediatrics | No | Yes | https://www.smiths-medical.com/products/tracheostomy/silicone-tracheostomy-tubes/silicone-neonatal-and-pediatric-tracheostomy-tubes/bivona-tts-cuffed-neonatal-and-pediatric-silicone-tracheostomy-tubes | BX | 1 | Equivalent | Medtronic Minimally Invasive | 4.0PCF | Cuffed | 4.0 mm | 6.0 mm | 41 mm | Pediatrics | No | Yes | https://www.medtronic.com/covidien/en-us/products/tracheostomy/shiley-neonatal-pediatric-tracheostomy-tubes.html | EA | 1
Smiths Medical North America | 67P045 | Cuffed | 4.5mm | 6.7mm | 42.0mm | Pediatrics | No | Yes | https://www.smiths-medical.com/products/tracheostomy/silicone-tracheostomy-tubes/silicone-neonatal-and-pediatric-tracheostomy-tubes/bivona-tts-cuffed-neonatal-and-pediatric-silicone-tracheostomy-tubes | BX | 1 | Equivalent | Medtronic Minimally Invasive | 4.5PCF | Cuffed | 4.5 mm | 6.7 mm | 42 mm | Pediatrics | No | Yes | https://www.medtronic.com/covidien/en-us/products/tracheostomy/shiley-neonatal-pediatric-tracheostomy-tubes.html | EA | 1
Smiths Medical North America | 67P050 | Cuffed | 5.0mm | 7.3mm | 44.0mm | Pediatrics | No | Yes | https://www.smiths-medical.com/products/tracheostomy/silicone-tracheostomy-tubes/silicone-neonatal-and-pediatric-tracheostomy-tubes/bivona-tts-cuffed-neonatal-and-pediatric-silicone-tracheostomy-tubes | BX | 1 | Equivalent | Medtronic Minimally Invasive | 5.0PCF | Cuffed | 5.0 mm | 7.3 mm | 44 mm | Pediatrics | No | Yes | https://www.medtronic.com/covidien/en-us/products/tracheostomy/shiley-neonatal-pediatric-tracheostomy-tubes.html | EA | 1
Smiths Medical North America | 67P055 | Cuffed | 5.5mm | 8.0mm | 46.0mm | Pediatrics | No | Yes | https://www.smiths-medical.com/products/tracheostomy/silicone-tracheostomy-tubes/silicone-neonatal-and-pediatric-tracheostomy-tubes/bivona-tts-cuffed-neonatal-and-pediatric-silicone-tracheostomy-tubes | BX | 1 | Equivalent | Medtronic Minimally Invasive | 5.5PCF | Cuffed | 5.5 mm | 7.9 mm | 46 mm | Pediatrics | No | Yes | https://www.medtronic.com/covidien/en-us/products/tracheostomy/shiley-neonatal-pediatric-tracheostomy-tubes.html | EA | 1
Smiths Medical North America | 60SP025 | Uncuffed | 2.5mm | 4.0mm | 38.0mm | Pediatrics | No | Yes | https://www.smiths-medical.com/products/tracheostomy/silicone-tracheostomy-tubes/silicone-neonatal-and-pediatric-tracheostomy-tubes/bivona-uncuffed-neonatal-and-pediatric-tracheostomy-tubes | BX | 1 | Equivalent | Medtronic Minimally Invasive | 2.5PEF | Uncuffed | 2.5 mm | 4.2 mm | 39 mm | Pediatrics | No | Yes | https://www.medtronic.com/covidien/en-us/products/tracheostomy/shiley-neonatal-pediatric-tracheostomy-tubes.html | EA | 1
Smiths Medical North America | 60SP030 | Uncuffed | 3.0mm | 4.7mm | 39.0mm | Pediatrics | No | Yes | https://www.smiths-medical.com/products/tracheostomy/silicone-tracheostomy-tubes/silicone-neonatal-and-pediatric-tracheostomy-tubes/bivona-uncuffed-neonatal-and-pediatric-tracheostomy-tubes | BX | 1 | Equivalent | Medtronic Minimally Invasive | 3.0PEF | Uncuffed | 3.0 mm | 4.8 mm | 39 mm | Pediatrics | No | Yes | https://www.medtronic.com/covidien/en-us/products/tracheostomy/shiley-neonatal-pediatric-tracheostomy-tubes.html | EA | 1
Smiths Medical North America | 60SP035 | Uncuffed | 3.5mm | 5.3mm | 40.0mm | Pediatrics | No | Yes | https://www.smiths-medical.com/products/tracheostomy/silicone-tracheostomy-tubes/silicone-neonatal-and-pediatric-tracheostomy-tubes/bivona-uncuffed-neonatal-and-pediatric-tracheostomy-tubes | BX | 1 | Equivalent | Medtronic Minimally Invasive | 3.5PEF | Uncuffed | 3.5 mm | 5.4 mm | 40 mm | Pediatrics | No | Yes | https://www.medtronic.com/covidien/en-us/products/tracheostomy/shiley-neonatal-pediatric-tracheostomy-tubes.html | EA | 1
Smiths Medical North America | 60SP040 | Uncuffed | 4.0mm | 6.0mm | 41.0mm | Pediatrics | No | Yes | https://www.smiths-medical.com/products/tracheostomy/silicone-tracheostomy-tubes/silicone-neonatal-and-pediatric-tracheostomy-tubes/bivona-uncuffed-neonatal-and-pediatric-tracheostomy-tubes | BX | 1 | Equivalent | Medtronic Minimally Invasive | 4.0PEF | Uncuffed | 4.0 mm | 6.0 mm | 41 mm | Pediatrics | No | Yes | https://www.medtronic.com/covidien/en-us/products/tracheostomy/shiley-neonatal-pediatric-tracheostomy-tubes.html | EA | 1
Smiths Medical North America | 60SP045 | Uncuffed | 4.5mm | 6.7mm | 42.0mm | Pediatrics | No | Yes | https://www.smiths-medical.com/products/tracheostomy/silicone-tracheostomy-tubes/silicone-neonatal-and-pediatric-tracheostomy-tubes/bivona-uncuffed-neonatal-and-pediatric-tracheostomy-tubes | BX | 1 | Equivalent | Medtronic Minimally Invasive | 4.5PEF | Uncuffed | 4.5 mm | 6.7 mm | 42 mm | Pediatrics | No | Yes | https://www.medtronic.com/covidien/en-us/products/tracheostomy/shiley-neonatal-pediatric-tracheostomy-tubes.html | EA | 1
Smiths Medical North America | 60SP050 | Uncuffed | 5.0mm | 7.3mm | 44.0mm | Pediatrics | No | Yes | https://www.smiths-medical.com/products/tracheostomy/silicone-tracheostomy-tubes/silicone-neonatal-and-pediatric-tracheostomy-tubes/bivona-uncuffed-neonatal-and-pediatric-tracheostomy-tubes | BX | 1 | Equivalent | Medtronic Minimally Invasive | 5.0PEF | Uncuffed | 5.0 mm | 7.3 mm | 44 mm | Pediatrics | No | Yes | https://www.medtronic.com/covidien/en-us/products/tracheostomy/shiley-neonatal-pediatric-tracheostomy-tubes.html | EA | 1
Smiths Medical North America | 60SP055 | Uncuffed | 5.5mm | 8.0mm | 46.0mm | Pediatrics | No | Yes | https://www.smiths-medical.com/products/tracheostomy/silicone-tracheostomy-tubes/silicone-neonatal-and-pediatric-tracheostomy-tubes/bivona-uncuffed-neonatal-and-pediatric-tracheostomy-tubes | BX | 1 | Equivalent | Medtronic Minimally Invasive | 5.5PEF | Uncuffed | 5.5 mm | 7.9 mm | 46 mm | Pediatrics | No | Yes | https://www.medtronic.com/covidien/en-us/products/tracheostomy/shiley-neonatal-pediatric-tracheostomy-tubes.html | EA | 1
Smiths Medical North America | 60P025 | Uncuffed | 2.5mm | 4.0mm | 38.0mm | Pediatrics | No | Yes | https://www.smiths-medical.com/products/tracheostomy/silicone-tracheostomy-tubes/silicone-neonatal-and-pediatric-tracheostomy-tubes/bivona-uncuffed-neonatal-and-pediatric-tracheostomy-tubes | BX | 1 | Equivalent | Medtronic Minimally Invasive | 2.5PEF | Uncuffed | 2.5 mm | 4.2 mm | 39 mm | Pediatrics | No | Yes | https://www.medtronic.com/covidien/en-us/products/tracheostomy/shiley-neonatal-pediatric-tracheostomy-tubes.html | EA | 1
Smiths Medical North America | 60P030 | Uncuffed | 3.0mm | 4.7mm | 39.0mm | Pediatrics | No | Yes | https://www.smiths-medical.com/products/tracheostomy/silicone-tracheostomy-tubes/silicone-neonatal-and-pediatric-tracheostomy-tubes/bivona-uncuffed-neonatal-and-pediatric-tracheostomy-tubes | BX | 1 | Equivalent | Medtronic Minimally Invasive | 3.0PEF | Uncuffed | 3.0 mm | 4.8 mm | 39 mm | Pediatrics | No | Yes | https://www.medtronic.com/covidien/en-us/products/tracheostomy/shiley-neonatal-pediatric-tracheostomy-tubes.html | EA | 1
Smiths Medical North America | 60P035 | Uncuffed | 3.5mm | 5.3mm | 40.0mm | Pediatrics | No | Yes | https://www.smiths-medical.com/products/tracheostomy/silicone-tracheostomy-tubes/silicone-neonatal-and-pediatric-tracheostomy-tubes/bivona-uncuffed-neonatal-and-pediatric-tracheostomy-tubes | BX | 1 | Equivalent | Medtronic Minimally Invasive | 3.5PEF | Uncuffed | 3.5 mm | 5.4 mm | 40 mm | Pediatrics | No | Yes | https://www.medtronic.com/covidien/en-us/products/tracheostomy/shiley-neonatal-pediatric-tracheostomy-tubes.html | EA | 1
Smiths Medical North America | 60P040 | Uncuffed | 4.0mm | 6.0mm | 41.0mm | Pediatrics | No | Yes | https://www.smiths-medical.com/products/tracheostomy/silicone-tracheostomy-tubes/silicone-neonatal-and-pediatric-tracheostomy-tubes/bivona-uncuffed-neonatal-and-pediatric-tracheostomy-tubes | BX | 1 | Equivalent | Medtronic Minimally Invasive | 4.0PEF | Uncuffed | 4.0 mm | 6.0 mm | 41 mm | Pediatrics | No | Yes | https://www.medtronic.com/covidien/en-us/products/tracheostomy/shiley-neonatal-pediatric-tracheostomy-tubes.html | EA | 1
Smiths Medical North America | 60P045 | Uncuffed | 4.5mm | 6.7mm | 42.0mm | Pediatrics | No | Yes | https://www.smiths-medical.com/products/tracheostomy/silicone-tracheostomy-tubes/silicone-neonatal-and-pediatric-tracheostomy-tubes/bivona-uncuffed-neonatal-and-pediatric-tracheostomy-tubes | BX | 1 | Equivalent | Medtronic Minimally Invasive | 4.5PEF | Uncuffed | 4.5 mm | 6.7 mm | 42 mm | Pediatrics | No | Yes | https://www.medtronic.com/covidien/en-us/products/tracheostomy/shiley-neonatal-pediatric-tracheostomy-tubes.html | EA | 1
Smiths Medical North America | 60P050 | Uncuffed | 5.0mm | 7.3mm | 44.0mm | Pediatrics | No | Yes | https://www.smiths-medical.com/products/tracheostomy/silicone-tracheostomy-tubes/silicone-neonatal-and-pediatric-tracheostomy-tubes/bivona-uncuffed-neonatal-and-pediatric-tracheostomy-tubes | BX | 1 | Equivalent | Medtronic Minimally Invasive | 5.0PEF | Uncuffed | 5.0 mm | 7.3 mm | 44 mm | Pediatrics | No | Yes | https://www.medtronic.com/covidien/en-us/products/tracheostomy/shiley-neonatal-pediatric-tracheostomy-tubes.html | EA | 1
Smiths Medical North America | 60P055 | Uncuffed | 5.5mm | 8.0mm | 46.0mm | Pediatrics | No | Yes | https://www.smiths-medical.com/products/tracheostomy/silicone-tracheostomy-tubes/silicone-neonatal-and-pediatric-tracheostomy-tubes/bivona-uncuffed-neonatal-and-pediatric-tracheostomy-tubes | BX | 1 | Equivalent | Medtronic Minimally Invasive | 5.5PEF | Uncuffed | 5.5 mm | 7.9 mm | 46 mm | Pediatrics | No | Yes | https://www.medtronic.com/covidien/en-us/products/tracheostomy/shiley-neonatal-pediatric-tracheostomy-tubes.html | EA | 1

## Benchmarks
Vendor | Catalog Number | PriceGuide Vendor | PriceGuide Vendor Catalog Number | PriceGuide Description | PriceGuide UOM | PriceGuide Conversion Factor | PriceGuide Low | PriceGuide 25th Percentile | PriceGuide Median | PriceGuide 75th Percentile | PriceGuide High | Members Submitting | National Spend | National Usage | Vendor | Catalog Number | PriceGuide Vendor | PriceGuide Vendor Catalog Number | PriceGuide Description | PriceGuide UOM | PriceGuide Conversion Factor | PriceGuide Low | PriceGuide 25th Percentile | PriceGuide Median | PriceGuide 75th Percentile | PriceGuide High | Members Submitting | National Spend | National Usage
Smiths Medical North America | 67SP025 | Smiths Medical North America | 67SP025 | TUBE TRACH PEDIATRIC TTS CUFF 2.5MM | EA | 1 | 155.66 | 168.504 | 172.84 | 181.11 | 193.63 | 14 | 7201.258 | 41 | Medtronic Minimally Invasive | 2.5PCF
Smiths Medical North America | 67SP030 | Smiths Medical North America | 67SP030 | 3.0PEDI TTS TRACH TUBE | EA | 1 | 155.66 | 168.5 | 172.84 | 185.31 | 193.63 | 31 | 54684.9115 | 327 | Medtronic Minimally Invasive | 3.0PCF
Smiths Medical North America | 67SP035 | Smiths Medical North America | 67SP035 | PEDI TRACH 3.5 | EA | 1 | 155.66 | 168.22 | 173.32 | 189.09 | 222.505 | 32 | 129812.265 | 767 | Medtronic Minimally Invasive | 3.5PCF | Medtronic Minimally Invasive Therapies Group | 35PCF | PEDIATRIC CUFFED | EA | 1 | 141.5 | 141.5 | 141.5 | 141.5 | 141.5 | 1 | 566 | 4
Smiths Medical North America | 67SP040 | Smiths Medical North America | 67SP040 | PEDI TRACH 4.0 | EA | 1 | 155.66 | 164.61 | 172.84 | 183.35 | 193.63 | 28 | 175101.682 | 1080 | Medtronic Minimally Invasive | 4.0PCF
Smiths Medical North America | 67SP045 | Smiths Medical North America | 67SP045 | TUBE TRACH BIVONA SIL PED ID4.5MM CUF STRL LF | EA | 1 | 155.66 | 169.2212 | 172.8405 | 185.43 | 222.505 | 28 | 116735.0976 | 699 | Medtronic Minimally Invasive | 4.5PCF
Smiths Medical North America | 67SP050 | Smiths Medical North America | 67SP050 | tts trach tube 5.0 | EA | 1 | 155.66 | 167.0791 | 172.84 | 185.31 | 208.2765 | 26 | 74096.9031 | 453 | Medtronic Minimally Invasive | 5.0PCF
Smiths Medical North America | 67SP055 | Smiths Medical North America | 67SP055 | 5.5 pedi straight flange TTS | EA | 1 | 155.66 | 164.61 | 172.84 | 174.36 | 193.63 | 23 | 109548.373 | 676 | Medtronic Minimally Invasive | 5.5PCF
Smiths Medical North America | 67P025 | Smiths Medical North America | 67P025 | TUBE TRACHEAL AIRE-CUF PEDIATRIC + 1/EA | EA | 1 | 163.45 | 163.45 | 167.49 | 171.85 | 185.43 | 12 | 9629.042 | 58 | Medtronic Minimally Invasive | 2.5PCF
Smiths Medical North America | 67P030 | Smiths Medical North America | 67P030 | TUBE TRACHEAL TTS PEDIATRIC + 1/EA | EA | 1 | 157.45 | 164.61 | 168.5 | 173.24 | 231 | 22 | 43037.91 | 251 | Medtronic Minimally Invasive | 3.0PCF
Smiths Medical North America | 67P035 | Smiths Medical North America | 67P035 | TUBE TRACHEAL TTS PEDIATRIC + 1/EA | EA | 1 | 157.45 | 165.27 | 173.5335 | 183.97 | 218.4 | 34 | 108717.8583 | 643 | Medtronic Minimally Invasive | 3.5PCF | Medtronic Minimally Invasive Therapies Group | 35PCF | PEDIATRIC CUFFED | EA | 1 | 141.5 | 141.5 | 141.5 | 141.5 | 141.5 | 1 | 566 | 4
Smiths Medical North America | 67P040 | Smiths Medical North America | 67P040 | TUBE TRACHEAL #67P040 PEDIATRIC SIZE 4 AIRE-CUF TTS | EA | 1 | 157.45 | 167.38 | 172.54 | 184.7322 | 192.54 | 30 | 81413.1116 | 480 | Medtronic Minimally Invasive | 4.0PCF
Smiths Medical North America | 67P045 | Smiths Medical North America | 67P045 | TUBE TRACHEAL TTS PEDIATRIC + 1/EA | EA | 1 | 155.66 | 165.27 | 170.1 | 179.75 | 218.79 | 27 | 93377.4549 | 553 | Medtronic Minimally Invasive | 4.5PCF
Smiths Medical North America | 67P050 | Smiths Medical North America | 67P050 | TUBE TRACHEAL TTS PEDIATRIC + 1/EA | EA | 1 | 155.66 | 163.45 | 167.38 | 173.54 | 189.48 | 22 | 74386.8968 | 445 | Medtronic Minimally Invasive | 5.0PCF
Smiths Medical North America | 67P055 | Smiths Medical North America | 67P055 | PED. | EA | 1 | 155.66 | 164.61 | 168.22 | 179.75 | 199.75 | 27 | 69336.7153 | 413 | Medtronic Minimally Invasive | 5.5PCF
Smiths Medical North America | 60SP025 | Smiths Medical North America | 60SP025 | TUBE TRACHEOSTOMY BIVONA 2.5 PED UNCUF 60SP025 | EA | 1 | 44.5 | 51.13 | 54.0645 | 56.55 | 60.57 | 12 | 3604.314 | 69 | Medtronic Minimally Invasive | 2.5PEF
Smiths Medical North America | 60SP030 | Smiths Medical North America | 60SP030 | 3.0 PEDI UNCUFFED TRACH | EA | 1 | 44.5 | 51.13 | 52.71 | 54.07 | 60.57 | 13 | 6547.842 | 133 | Medtronic Minimally Invasive | 3.0PEF
Smiths Medical North America | 60SP035 | Smiths Medical North America | 60SP035 | 3.5 UNCUFF TRACH TUBE | EA | 1 | 44.5 | 51.13 | 54.0645 | 54.07 | 60.57 | 14 | 17175.2285 | 366 | Medtronic Minimally Invasive | 3.5PEF
Smiths Medical North America | 60SP040 | Smiths Medical North America | 60SP040 | TRACH TUBE UNCUFF PEDS 4.0 | EA | 1 | 44.5 | 51.49 | 54.07 | 56.55 | 60.57 | 20 | 26162.932 | 563 | Medtronic Minimally Invasive | 4.0PEF
Smiths Medical North America | 60SP045 | Smiths Medical North America | 60SP045 | TRACH TUBE PED 4.5 | EA | 1 | 44.5 | 51.49 | 54.07 | 57.35 | 60.57 | 17 | 39032.4229 | 826 | Medtronic Minimally Invasive | 4.5PEF
Smiths Medical North America | 60SP050 | Smiths Medical North America | 60SP050 | 5.0 UNCUFFE DTRACH TUBE | EA | 1 | 44.5 | 51.49 | 54.07 | 56.51 | 60.57 | 21 | 10405.5034 | 209 | Medtronic Minimally Invasive | 5.0PEF | Medtronic Minimally Invasive Therapies Group | 50PEF | 5.0PEF-PEDIATRIC TRACHEOSTOMY CUFFLESS TUBE | EA | 1 | 42.01 | 42.01 | 42.01 | 42.01 | 42.01 | 1 | 168.04 | 4
Smiths Medical North America | 60SP055 | Smiths Medical North America | 60SP055 | 5.5 PEDI UNCUFFED TRACH TUBE | EA | 1 | 44.5 | 51.49 | 54.0645 | 54.54 | 60.57 | 15 | 14253.6523 | 294 | Medtronic Minimally Invasive | 5.5PEF | Medtronic Minimally Invasive Therapies Group | 55PEF | 4130055PEF Tyco Shiley Pediatric Cuffless tracheostomy tube 5.5 | EA | 1 | 42.01 | 42.01 | 42.01 | 42.01 | 42.01 | 1 | 168.04 | 4
Smiths Medical North America | 60P025 | Smiths Medical North America | 60P025 | TUBE TRACHEAL CUFFLESS PEDIATRIC + 1/EA | EA | 1 | 49.13 | 52.2623 | 52.94 | 56.65 | 60.037 | 22 | 7801.2662 | 149 | Medtronic Minimally Invasive | 2.5PEF
Smiths Medical North America | 60P030 | Smiths Medical North America | 60P030 | TUBE TRACHEAL CUFFLESS PEDIATRIC + 1/EA | EA | 1 | 44.5 | 51.13 | 52.71 | 55.5 | 70.86 | 30 | 23100.7759 | 441 | Medtronic Minimally Invasive | 3.0PEF
Smiths Medical North America | 60P035 | Smiths Medical North America | 60P035 | TUBE TRACHEAL CUFFLESS PED. 3.5 | EA | 1 | 44.5 | 52.3911 | 54.07 | 58.19 | 78.12 | 40 | 32932.641 | 620 | Medtronic Minimally Invasive | 3.5PEF
Smiths Medical North America | 60P040 | Smiths Medical North America | 60P040 | TUBE TRACHEAL BIVONA PEDI 4.0 CUFFLESS | EA | 1 | 44.5 | 51.49 | 54.07 | 56.65 | 75.365 | 51 | 61012.177 | 1185 | Medtronic Minimally Invasive | 4.0PEF
Smiths Medical North America | 60P045 | Smiths Medical North America | 60P045 | TUBE TRACHEOSTOMY #60P045 4.5 CUFFLESS | EA | 1 | 44.5 | 51.49 | 54.0645 | 57.97 | 75.294 | 37 | 26069.5882 | 508 | Medtronic Minimally Invasive | 4.5PEF
Smiths Medical North America | 60P050 | Smiths Medical North America | 60P050 | TUBE TRACHEAL BIVONA 5.0 PEDS | EA | 1 | 44.5 | 52.36 | 55.09 | 57.75 | 74.63 | 45 | 27907.9128 | 541 | Medtronic Minimally Invasive | 5.0PEF | Medtronic Minimally Invasive Therapies Group | 50PEF | 5.0PEF-PEDIATRIC TRACHEOSTOMY CUFFLESS TUBE | EA | 1 | 42.01 | 42.01 | 42.01 | 42.01 | 42.01 | 1 | 168.04 | 4
Smiths Medical North America | 60P055 | Smiths Medical North America | 60P055 | TUBE TRACHEOSTOMY #60P055 5.5 CUFFLESS (BIVONA) | EA | 1 | 44.5 | 51.49 | 52.936 | 58 | 65.1475 | 27 | 11126.9745 | 211 | Medtronic Minimally Invasive | 5.5PEF | Medtronic Minimally Invasive Therapies Group | 55PEF | 4130055PEF Tyco Shiley Pediatric Cuffless tracheostomy tube 5.5 | EA | 1 | 42.01 | 42.01 | 42.01 | 42.01 | 42.01 | 1 | 168.04 | 4

## Disclaimer
Notice: The data contained in ECRI Institute’s PriceGuide database has been submitted by ECRI Institute’s PriceGuide members on a voluntary basis. Members agree not to provide ECRI Institute with any data or information that is otherwise confidential in nature or that is protected under a confidentiality agreement with a third party. For selected items in the PriceGuide database, ECRI Institute standardizes vendor and manufacturer names, item descriptions and related codes from ECRI Institute’s Universal Medical Device Nomenclature System (UMDNS). ECRI Institute makes no representations or warranties of any kind, including any implied warranty of merchantability of fitness, or representations regarding the accuracy or timeliness of the data or information, in the database, or any data derived therefrom, (including but not limited to data downloaded by the Member or data provided to Member by ECRI Institute). ECRI Institute’s PriceGuide pricing is based upon data with purchase dates within the last thirteen (13) month time period. The "low price" is the lowest price that has been submitted to ECRI Institute for an item, the “25th percentile price” represents the mid-point between the “low price” and “median price” submitted, the “median price” represents the mid-point of all of the prices submitted for an item, the “75th percentile price” represents the mid-point between the “median price” and “high price” and the "high price" is the highest price that has been submitted to ECRI Institute. Usage figures and rebates are not taken into consideration in the calculation of the PriceGuide prices. The identities of organizations submitting data to Price Guide are not posted. PriceGuide reports are confidential and are solely for internal, non-commercial purposes within the member organization. Reports shall not be distributed, published, broadcast or sold, in whole or in part, to any third parties, including but not limited to contractors/or consultants. In addition, member organizations shall not use any information contained herein, including ECRI Institute’s name or the names of its products and services, for marketing, or promotional purposes without ECRI Institute’s prior written approval. The alternative products, provided herein, are based solely upon publicly available information such as manufacturer websites and product brochures. As such, ECRI Institute cannot guarantee the clinical outcomes or physical compatibility of these similar products with your organization. In addition, products, and their potential alternatives, are subject to modification over time, and the physical infrastructure of your organization may be modified as well. As such, the alternatives provided herein are time-sensitive and may not be accurate, complete, or applicable at a future date.