## Model Comparison Guide
Ultra Low Temperature Freezers: Model Comparison Chart
| Supplier | abm | abm + Extended Warranty Option | ThermoFisher | VWR | Eppendorf | Haier | K2 scientific | Across International | So Low
| Model | Ultra Low Temperature Lab Freezer-510 L | Ultra Low Temperature Lab Freezer-510 L | TSX Series Ultra-Low Freezers | VWR® –86 °C Ultra-Low Temperature Freezers with Natural Refrigerants | CryoCube® F570n | -86℃ Ultra Low Temperature Freezer | 21 cu ft. Ultra Low (-50°C TO -86°C) Temperature Freezer | Ai Glacier 18 Cu Ft -86°C Ultra-Low Upright ULT Freezer ETL 110V | So-Low Upright Freezer to -85°C)
| Cat. No. | Q5126 | Q5126 | TSX40086A | 76307-952 | F571200035 | Cat. No. DW-86L579 | K221ULT | G18 | U85-18
| Freezer Type | ULT, Upright | ULT, Upright | ULT, Upright | ULT, Upright | ULT, Upright | ULT, Upright | ULT, Upright | ULT, Upright | ULT, Upright
| Temperature Range | -40°C to -86°C | -40°C to -86°C | -50°C to -86°C | -86°C | -50 °C to -86 °C | -40 °C to -86 °C | -50 °C to -86 °C | -40 °C to -86 °C | -40 °C to -85 °C
| Storage Capacity | 510 L (400 x 2" boxes) | 510 L (400 x 2" boxes) | 549 L (400 x 2" boxes) | 549 L (400 X 2" boxes) | 570 L (400 X 2" boxes) | 579 L | 590 L (400 X 2" boxes) | 510 L | 505 L
| Energy consumption | 8.5 kWh/day | 8.5 kWh/day | 8.5 kWh/day | 12 kWh/day | 8.8 kWh/day | 7.5 kWh/day | 16 kWh/day | 8.5 kWh/day | 17 kWh/day
| Operation sound levels | 48 dBA | 48 dBA | 49.8 dBA | 51.3 dBA | 57.3 dBA | 43.5 dBA | 55 dBA | 48 dBA | 62 dBA
| Electrical requirements | 220 V, 60 Hz | 220 V, 60 Hz | 115 V, 60 Hz | 230 V, 50 Hz | 115 V, 60 Hz | 115 V, 60 Hz | 120V, 60Hz | 110 V, 60 Hz | 115V, 60Hz
| Display | Touchscreen Interface | Touchscreen Interface | Touchscreen Interface | Touchscreen Interface | Classic Interface | Touchscreen Interface | Touchscreen Interface | Touchscreen Interface | Classic Interface
| Automatic Alarms | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes
| Warranty | 1 year limited parts + 3 year compressor | 5 years limited parts + 7 years compressor | Warranty varies by country | 2 years limited parts + 5 year compressor |  | 3 years | 2 years full parts replacement or compressor failure | 1 year | 1 year parts and labour
| Certifications | ISO9001, ISO14001, ISO13485, CE, TUV, and ETL certified and RoSH compliant. | ISO9001, ISO14001, ISO13485, CE, TUV, and ETL certified and RoSH compliant. | cULus | EPA SNAP compliant. UL/cUL listed. | ACT, Energy Star | Energy Star | UL/cUL | CSA, UL | ETL
| Price (USD) | $6,000.00* *Special Research Support Pricing Plus additional shipping fees/duties/taxes. Duties/Taxes to the USA are $1,500. Shipping fees vary. Please inquire. | $8,500.00* *Special Research Support Pricing Plus additional shipping fees/duties/taxes. Duties/Taxes to the USA are $1,500. Shipping fees vary. Please inquire. | Quote must be requested. | $23,295.62 Plus additional shipping fees/duties/taxes. | $20,500.00 Plus additional shipping fees/duties/taxes. | $12,007.00 Plus additional shipping fees/duties/taxes. | $10,075.00 Plus additional shipping fees/duties/taxes. | $10,990.00 Plus additional shipping fees/duties/taxes. | $8,295.00 Plus additional shipping fees/duties/taxes.
Applied Biological Materials Inc. (abm) • www.abmgood.com • 1-866-757-2414 • info@abmgood.com