Summary of estimated construction cost per greenhouse Use in combination with production budget * 30 x 96 Greenhouse

Alabama, 2018

| ITEM | UNIT | COST |
| --- | --- | --- |
|  |  | dollars |
| Frame: |  |  |
| Greenhouse Frame | 1 Frame | 8,000.00 |
| Greenhouse Plastic | 1 Plastic Roll | 350.00 |
| Door for Greenhouse | 1 Door | 300.00 |
| Plastic Locking System | 1 Ft. Locking System | 1.75 |
| 50% Shade Cloth 1 Cloth | 1,000.00 |
| Ventilation: |  |  |
| 48" Exhaust Fans 1 Exh. Fan | 1,200.00 |
| Cooling Pad System | 1 Pad System | 1,200.00 |
| Cooling Pads 1 Cooling Pad | 39.00 |
| HAF Fans | 1 HAF Fan | 120.00 |
| Wall Vent | 1 Wall Vent | 2,000.00 |
| Energy System: |  |  |
| 250,000 BTU Heater | 1 Heater | 1,250.00 |
| 8 x 8 x 8 Walk-In Cooler 1 Cooler | 6,250.00 |
| Back-Up Generator (11,000 W) | 1 Generator | 2,750.00 |
| Construction Cost: |  |  |
| Construction Installation | 1 Greenhouse | 10,000.00 |
| Electrical Installation 1 Greenhouse | 1,500.00 |

| QUANTITY | REPLACEMENT | AMOUNT | YOUR FARM |
| --- | --- | --- | --- |
|  | years | dollars |  |
| 1 | 20 year life | 8,000.00 |  |
| 2 | 3 year life | 700.00 |  |
| 1 | 20 year life | 300.00 |  |
| 450 | 20 year life | 787.50 |  |
| 1 | 5 year life | 1,000.00 |  |
|  |  | 10,787.50 | 0 |
| 2 | 5 year life | 2,400.00 |  |
| 1 | 5 year life | 1,200.00 |  |
| 25 | 3 year life | 975.00 |  |
| 4 | 3 year life | 480.00 |  |
| 1 | 5 year life | 2,000.00 |  |
|  | * | 7,055.00 | 0 |
| 1 | 5 year life | 1,250.00 |  |
| 1 | 25 year life | 6,250.00 |  |
| 1 | 15 year life | 2,750.00 |  |
|  |  | 10,250.00 | 0 |
| 1 | 20 year life | 10,000.00 |  |
| 1 | 20 year life | 1,500.00 |  |

|  |  |  |  | 11,500.00 |  | 0 |
| --- | --- | --- | --- | --- | --- | --- |
| Site Prep: |  |  |  |  |  |  |
| Clear, level, groundwork 1 Greenhouse | 2,000.00 | 1 | Life of Site | 2,000.00 |  |  |
| Ground Cover 12 x 300 | 150.00 | 1 | 10 year life | 150.00 |  |  |
|  |  |  |  | 2,150.00 |  | 0 |
| Loan Cost: |  |  |  |  |  |  |
| Operating Loan 75% of Total Cost | 31,306.88 |  | 10% Interest | 3,130.69 |  |  |
|  |  |  |  | 3,130.69 |  | 0 |
| Total Cost 30 x 96 Greenhouse |  |  | $ | 44,873.19 | $ | - |

* Assumptions:

- This budget does not include any crop production costs

- Utility hook-up not included as cost can vary greatly

- Shipping / travel costs not included

- Pump and plumbing cost included in ventilation sub-total

The Alabama Cooperative Extension System (Alabama A&M University and Auburn University) is an equal opportunity educator and employer. Everyone is welcome! Please let us know if you have accessibility needs. © 2019 by the Alabama Cooperative Extension System.

www.aces.edu