## OSE Budget Sheet
OSE Programming Budget Worksheet |  |  |  |  | OSE Pre-Bid Budget Worksheet |  |  |  |  | OSE Post-Bid Budget Worksheet
DSU Infrastructure Renovation
Date | 2010-11-12 | Total Project Funding |  | 3000000 | Date |  | Total Project Funding |  | 3000000 | Date |  | Total Project Funding |  | 3000000
Project Name | DSU Infrastructure | Design Contingency, % |  | 10% | Project Name | DSU Infrastructure | Contingency, % |  |  | Project Name | DSU Infrastructure | Const. Contingency, %
|  | OSE Fee, % |  | 1% |  |  | OSE Fee, % |  |  |  |  | OSE Fee, %
OSE # | R0410--03X | AE FEE, % |  |  | OSE # | R0410--03X |  |  |  | OSE # | R0410--03X
Project A/E | TSP |  | or $ | 287500 | Project A/E | TSP |  |  |  | Project A/E | TSP | Change Order Ceiling
Estimate by | John Ullmann |  |  |  | Estimate by |  |  |  |  | Estimate by |  | Const. Contingency Avail. |  | 0
Construction Cost | 2427934 |  | Construction Cost | Description | Construction Cost | 0 |  | Construction Cost | Description | Construction Cost | 0
Design Contingency | 236917.4 | 1 | 363845 | MV Campus Upgrades | Construction Alternates | 0 | 1 |  |  | Const. Change Orders | 0 |  | Construction Cost | Description
Total Const. Cost | 2664851.4 | 2 | 492450 | Steam Upgrades | Contingency | 0 | 2 |  |  | Furnishings | 0 | 1
Furnishings | 0 | 3 | 1571639 | General/HVAC Upgrades | Furnishings | 0 | 3 |  |  | Specialty Contract |  | 2
Specialty Contract |  | 4 |  |  | Specialty Contract |  | 4 |  |  | Voice/LAN Cabling |  | 3
Voice/LAN Cabling |  | 5 |  |  | Voice/LAN Cabling |  | 5 |  |  | Abatement |  | 4
Abatement | 5000 |  |  |  | Abatement |  |  |  |  | A/E Fee |  | 5
Total A/E Fee | 298500 |  | Alternates Cost | Description | A/E Fee |  |  | Alternates Cost | Description | Commissioning
Commissioning |  | 1 | 116000 | Electrical Alt | Commissioning |  | 1 |  |  | OSE Fee | 0 |  | Change Orders | Description
OSE Fee | 26648.514 | 2 | 211320 | Steam Metering | OSE Fee | 0 | 2 |  |  | Testing: | 0 | 1
Testing: | 5000 | 3 | 120000 | B-2 Burner Replacement | Testing: | 0 | 3 |  |  | Soil Boring |  | 2
Soil Boring |  | 4 | 115345.62 | Gym HVAC Upgrades | Soil Boring |  | 4 |  |  | Construction |  | 3
Construction |  | 5 | 74775.96 | Fire Alarm Upgrade | Construction |  | 5 |  |  | Abatement |  | 4
Abatement |  |  |  |  | Abatement |  |  |  |  | Other |  | 5
Other | 5000 |  | A/E Fee | Description | Other |  |  | FF&E Cost | Description | Survey: | 0
Survey: | 0 | 1 | 287500 | Basic Services | Survey: | 0 | 1 |  |  | Legal/Descriptive |  |  | FF&E Cost | Description
Legal/Descriptive |  | 2 | 11000 | Reimbursables | Legal/Descriptive |  | 2 |  |  | Topographic |  | 1
Topographic |  | 3 |  |  | Topographic |  | 3 |  |  | Easement |  | 2
Easement |  | 4 |  |  | Easement |  | 4 |  |  | Resident Project Rep. |  | 3
Resident Project Rep. |  | 5 |  |  | Resident Project Rep. |  | 5 |  |  | Miscellaneous | 0 | 4
Miscellaneous | 0 |  |  |  | Miscellaneous | 0 |  |  |  | Total Project Cost | 0 | 5
Total Other Costs | 335148.514 |  | FF&E Cost | Description | Total Project Cost | 0 |  | Misc. Costs | Description | Total Project Funding | 3000000
|  | 1 |  |  | Total Project Funding | 3000000 | 1 |  |  | Unobligated Balance | 3000000 |  | Misc. Costs | Description
Total Base Budget Est. | 2999999.914 | 2 |  |  | Unobligated Balance | 3000000 | 2 |  |  |  |  | 1
|  | 3 |  |  |  |  | 3 |  |  |  |  | 2
Total Alternate Cost | 637441.58 | 4 |  |  |  |  | 4 |  |  |  |  | 3
Alternate Contingency | 63744.158 | 5 |  |  |  |  | 5 |  |  |  |  | 4
OSE Fee | 7011.8574 | [5 empty] | 6 |  |  |  |  | 5
Total Alternate Budget | 708197.5954 |  | Misc. Costs | Description |  |  | 7 |  |  |  |  | 6
|  | 1 | [9 empty] | 7
Total Project Cost | 3708197.5094 | 2
Total Project Funding | 3000000 | 3
Unobligated Balance | -708197.5094 | 4
5
6
7
Clear Programming Sheet
Clear Pre-Bid Sheet
Clear Post-Bid

## Construction Budget
PROBABLE CONSTRUCTION COST |  |  |  | DATE: | Nov. 12, 2010 5:00 PM
PROJECT: | Dakota State University Infrastructure Upgrades |  |  | PRELIM | FINAL
BASE BID |  |  |  | SCHEMATIC DESIGN
LOCATION: | Madison, South Dakota |  |  | Mech
ESTIMATOR: | MJJ | PROJECT NO. | 04100827 | Elec
The amounts stated herein are our best estimate of probable construction costs based on current information. Because costs are influenced by market conditions, changes in project scope, and other factors beyond our control, we cannot guarantee that actual construction costs will equal this estimate.
DSU Infrastructure Renovation - Construction Budget
DESCRIPTION (BASE BID) |  |  |  |  | COST PER UNIT | TOTAL COST
|  |  | QTY | UNIT
MEDIUM VOLTAGE CAMPUS DISTRIBUTION UPGRADES
Replace outdated switches, install MV loop feed
Directional Boring Poly conduit (4") |  |  | 2600 | lf | 12.6 | 32760
Directional Boring Poly conduit (2-1/2") |  |  | 1400 | lf | 8.4 | 11760
4/0 5kv Cable |  |  | 7800 | lf | 10 | 78000
#2 5kv Cable |  |  | 4200 | lf | 6.75 | 28350
Terminations |  |  | 111 | ea | 225 | 24975
S & C Switches 600A 5kv |  |  | 8 | ea | 22000 | 176000
Misc pull boxes |  |  | 6 | ea | 2000 | 12000
Subtotal | [5 empty] | 363845
Subtotal Medium Voltage Campus Distribution Upgrade | [5 empty] | 363845
CAMPUS STEAM UPGRADES
Physical Plant Boiler and Burner Replacement
Demo 750 HP Boiler B-1 |  |  | 1 | ea | 30000 | 30000
Demo Associated Physical Plant Piping |  |  | 1 | ea | 11000 | 11000
Replacement LPS Boiler B-1 250 HP Gas/Oil |  |  | 1 | l & m | 145000 | 145000
Base, Breeching, Stack & Piping Hook-ups |  |  | 1 | l & m | 75000 | 75000
Electrical |  |  | 1 | ls | 4000 | 4000
Subtotal | [5 empty] | 265000
Campus Steam Drip Trap Replacements
Add CRU-1 |  |  | 1 | ea | 11000 | 11000
Cut in new mid point drip near Trojan Center branch |  |  | 1 | ls | 11000 | 11000
Replace end of main drip at east end of east/west tunnel |  |  | 1 | ls | 7000 | 7000
LPR piping |  |  | 1 | ls | 23000 | 23000
Subtotal | [5 empty] | 52000
Steam Tunnel Piping Support Replacements
Replace 2" Pipe Stanchion to 18" AFF (Assume 10' C-C)
- From Zimmermann to Richardson/Emry (330') |  |  | 33 | ea | 350 | 11550
- Student Union to Zimmermann (220') |  |  | 22 | ea | 350 | 7700
- North-South Tunnel to Mundt - Two Angel Iron Legs (150') |  |  | 15 | ea | 500 | 7500
Subtotal | [5 empty] | 26750
Campus Steam Service Valve Replacement
Physical Plant 4" Valves |  |  | 0 | l & m | 2700 | 0
Physical Plant 6" Valves |  |  | 1 | l & m | 4600 | 4600
Physical Plant 8" Valves |  |  | 0 | l & m | 4500 | 0
Physical Plant 10" Valves |  |  | 1 | l & m | 8000 | 8000
Physical Plant 12" Valves |  |  | 2 | l & m | 9500 | 19000
Physical Plant 14" Valves |  |  | 1 | l & m | 12000 | 12000
Campus 4" Valves |  |  | 4 | l & m | 3500 | 14000
Campus 6" Valves |  |  | 8 | l & m | 4200 | 33600
Campus 8" Valves |  |  | 1 | l & m | 5000 | 5000
Subtotal | [5 empty] | 96200
Campus Steam Condensate Piping Insulation
Existing 2" PC |  |  | 2700 | l & m | 12 | 32400
Existing 3" PC |  |  | 900 | l & m | 14 | 12600
Existing 4" PC |  |  | 500 | l & m | 15 | 7500
Subtotal | [5 empty] | 52500
Subtotal Campus Steam Upgrades | [5 empty] | 492450
HVAC & GENERAL UPGRADES TO BEADLE HALL, MUNDT LIBRARY AND MEMORIAL GYMNASIUM
Beadle Hall Fire Escape | [5 empty] | 200000
Beadle Hall HVAC Upgrades
New variable refrigerant volume fan coil unit system |  |  | 17000 | sf | 22 | 374000
New ductwork |  |  | 3000 | lbs | 6.73 | 20190
New ductwork insulation |  |  | 10 | %duct$ | 20190 | 2019
6' Flex Duct to Diffusers |  |  | 160 | lf | 9 | 1440
New diffusers |  |  | 40 | ea | 150 | 6000
Controls interface |  |  | 1 | ls | 25000 | 25000
New Electrical gear, 400A service, SWBD, 4 panels |  |  | 1 | ls | 25000 | 25000
Outdoor CU, disconnect, receptacle |  |  | 5 | ea | 1200 | 6000
Indoor units, disconnect |  |  | 33 | ea | 700 | 23100
Arch - chases for electrical gear |  |  | 1 | ls | 10000 | 10000
Subtotal Beadle Hall HVAC Renovation | [5 empty] | 492749
Mundt Library Renovations
HVAC Renovation
New Ductwork - 20' avg run to new diffusers x 10" dia. Use $15.00/lf with insulation
|  |  | 105 | ea | 300 | 31500
6' Flex Duct to Diffusers |  |  | 630 | lf | 9 | 5670
Diffusers |  |  | 105 | ea | 150 | 15750
New Relief Air Camper/Motor/Controls in Basement |  |  | 1 | ls | 7500 | 7500
Subtotal | [5 empty] | 60420
Lighting Upgrade
New interior lighting (Means) |  |  | 40268 | sf | 2.83 | 113958.44
Duplex Receptacles in columns (2/col with data rough-in) |  |  | 10 | ea | 400 | 4000
Floor boxes |  |  | 15 | ea | 300 | 4500
Reinstall speakers and projectors |  |  | 1 | ls | 350 | 350
Demolition of lighting, FA, etc |  |  | 40268 | sf | 0.7 | 28187.6
Subtotal | [5 empty] | 150996.04
Lighting Controls
Lighting Control |  |  | 40268 | sf | 2 | 80536
Subtotal | [5 empty] | 80536
Fire Alarm Upgrade
New Fire Alarm System |  |  | 40268 | sf | 1.17 | 47113.56
Subtotal | [5 empty] | 47113.56
Ceiling System
New Ceiling System |  |  | 1 | ls | 255000 | 255000
Subtotal | [5 empty] | 255000
Subtotal Mundt Library Renovation | [5 empty] | 594065.6
Memorial Gymnasium HVAC Upgrades
10 Packaged Roof Top Units - 5 have Internal ERUs |  |  | 1 | ls | 100000 | 100000
Crane & Rigging |  |  | 3.5 | days | 1575 | 5512.5
Demo Existing Equipment |  |  | 1 | ls | 2000 | 2000
New Roof Mounting Curbs |  |  | 10 | ea | 750 | 7500
New Natural Gas Piping - Mains |  |  | 350 | ls | 22 | 7700
New Natural Gas Piping - Runouts |  |  | 150 | ls | 16.85 | 2527.5
New ductwork |  |  | 8200 | lbs | 6.73 | 55186
New ductwork Insulation |  |  | 10 | %duct$ | 55186 | 5518.6
6' Flex Duct to Diffusers |  |  | 320 | lf | 9 | 2880
New Diffusers |  |  | 80 | ea | 150 | 12000
Controls Interface |  |  | 1 | ls | 37000 | 37000
New electrical gear, 400A services, SWBD, 2 panels |  |  | 1 | ls | 25000 | 25000
HVAC - RTU connections, disconnect, receptacle |  |  | 10 | ea | 1200 | 12000
RTU Structural Support |  |  | 10 | ea | 1000 | 10000
Subtotal Memorial Gymnasium HVAC Upgrade | [5 empty] | 284824.6
Subtotal HVAC & General Upgrades to Beadle Hall, Mundt Library and Memorial Gymnasium | [5 empty] | 1571639.2
OTHER COSTS
A/E COSTS
Conceptual Planning |  |  | 1 | ls | 14000 | 14000
Autocad Upgrades |  |  | 1 | ls | 6500 | 6500
MV Upgrades |  |  | 1 | ls | 82000 | 82000
Campus Steam Upgrade |  |  | 1 | ls | 60000 | 60000
General/HVAC Beadle, Mundt & Memorial |  |  | 1 | ls | 125000 | 125000
Bidding Document Reimbursable Printing (Allowance) |  |  | 1 | ls | 11000 | 11000
Subtotal | [5 empty] | 298500
TESTING/ASBESTOS
Steam/Condensate Pipe Testing |  |  | 1 | ls | 5000 | 5000
Asbestos Abatement |  |  | 1 | ls | 5000 | 5000
Subtotal | [5 empty] | 10000
OSE FEES
OSE Fees |  |  | 1 | ls | 26707 | 26707
Subtotal | [5 empty] | 26648.514
DESIGN Contingency | [5 empty] | 236917.4
TOTAL CONSTRUCTION BUDGET | [5 empty] | 3000000.114

## Alternates budget
PROBABLE CONSTRUCTION COST |  |  |  | DATE: | Nov. 12, 2010 5:00 PM
PROJECT: | Dakota State University Infrastructure Upgrades |  |  | PRELIM | FINAL
ALTERNATES |  |  |  | SCHEMATIC DESIGN
LOCATION: | Madison, South Dakota |  |  | Mech
ESTIMATOR: | MJJ | PROJECT NO. | 04100827 | Elec
The amounts stated herein are our best estimate of probable construction costs based on current information. Because costs are influenced by market conditions, changes in project scope, and other factors beyond our control, we cannot guarantee that actual construction costs will equal this estimate.
DSU Infrastructure Renovation - Alternates Budget
DESCRIPTION (ALTERNATES) |  |  |  |  | COST PER UNIT | TOTAL COST
|  |  | QTY | UNIT
MEDIUM VOLTAGE CAMPUS DISTRIBUTION UPGRADES
Additional S&C switch for future expansion
Additional S&C switch in loop for expandability |  |  | 1 | ea | 25000 | 25000
Subtotal Additional S&C switch for future expansion | [5 empty] | 25000
Add second utility transformer, meter, etc
Second utility transformer, metering, add S&C switch |  |  | 1 | ls | 91000 | 91000
Subtotal Second utility transformer, metering, add S&C switch | [5 empty] | 91000
CAMPUS STEAM UPGRADES
Campus Steam Condensate Metering
Magnetic Condensate Flow Meters |  |  | 18 | ea | 9240 | 166320
Honeywell EMS Connections & Programming |  |  | 1 | ls | 45000 | 45000
Subtotal Campus Steam Condensate Metering | [5 empty] | 211320
Physical Plant Boiler B-2 Burner Replacement
Demo 750 HP Boiler B-2 Burner |  |  | 1 | ea | 10000 | 10000
Replacement Burner for Boiler B-2 |  |  | 1 | l & m | 90000 | 90000
Piping Hook ups Associated with B-2 |  |  | 1 | labor | 20000 | 20000
Subtotal Physical Boiler B-2 Burner Replacement | [5 empty] | 120000
HVAC & GENERAL UPGRADES TO MEMORIAL GYMNASIUM NATIONAL GUARD AREA
Memorial Gymnasium HVAC Upgrades
Memorial Gymnasium - National Guard
7 Packaged Roof Top Units |  |  | 1 | ls | 35000 | 35000
Crane & Rigging |  |  | 1.5 | days | 1575 | 2362.5
Demo Existing Equipment |  |  | 1 | ls | 1000 | 1000
New Roof Mounting Curbs |  |  | 7 | ea | 750 | 5250
New Natural Gas Piping - Mains |  |  | 150 | lf | 22 | 3300
New Natural Gas Piping - Runouts |  |  | 100 | lf | 16.85 | 1685
New Ductwork |  |  | 4040 | lbs | 6.73 | 27189.2
New Ductwork Insulation |  |  | 10 | %duct$ | 27189.2 | 2718.92
6' Flex Duct to Diffusers |  |  | 160 | lf | 9 | 1440
New Diffusers |  |  | 40 | ea | 150 | 6000
Controls Interface |  |  | 1 | ls | 14000 | 14000
HVAC - RTU connections, disconnect, receptacle |  |  | 7 | ea | 1200 | 8400
RTU Structural Support |  |  | 7 | ea | 1000 | 7000
Subtotal Memorial Gymnasium National Guard | [5 empty] | 115345.62
Memorial Gymnasium Fire Alarm Upgrade
New Fire Alarm System/ Demolition of FA, etc |  |  | 47628 | sf | 1.57 | 74775.96
Subtotal Memorial Gymnasium Fire Alarm Upgrade | [5 empty] | 74775.96
OTHER COSTS
ALTERNATES CONTINGENCY | [5 empty] | 63744.158
OSE FEES | [5 empty] | 7011.8574
TOTAL ALTERNATES CONSTRUCTION BUDGET | [5 empty] | 708197.5954

## Sheet1
Construction Cost | 2427934
Design Contingency | 236917.4
Abatement | 5000
Total A/E Fee | 298500
OSE Fee | 26648.514
Testing | 5000
Total Base Budget | 2999999.914