|  |  | A | B | C | D | E | F | G | H | I | J |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |  |  |  |  |  |
| 3 | 907 West Fifth Street Suite 117 |  |  |  |  |  |  |  |  |  |
| 4 | Dayton, OH. 45402 |  |  |  |  |  |  |  |  |  |
| 5 | T. 937.838.7008 |  |  |  |  |  |  |  |  |  |
| 6 | w w w . D P R A g r o u p . c o m |  |  |  |  |  |  |  |  |  |
| 7 |  |  |  |  |  |  |  |  |  |  |  |
| 8 | CLIENT: Gem City Hilltop Community Development & Housing Inc. 501(c)3 |  |  |  |  |  |  |  |  |  |
| 9 | LINDEN COMMUNITY CENTER - 334 Norwood Ave. - Dayton, Ohio |  |  |  |  |  |  |  |  |  |
| 10 | ADAPTIVE REUSE CONSTRUCTION BUDGET COST ESTIMATE |  |  |  |  |  |  |  |  |  |
| 11 |  |  |  |  |  |  |  |  |  |  |  |
| 12 | Existing Bldg: 22,000SF Gross Floor Area |  |  |  |  |  |  |  |  |  |
| 13 | Interior Adaptive Additions: interior floor 1000SF + interior stairwell modifications+ interior elevator |  |  |  |  |  |  |  |  |  |
| 14 |  |  |  |  |  |  |  |  |  |  |  |
| 15 | Date: October 10, 2019 |  |  |  |  |  |  |  |  |  |
| 16 |  |  |  |  |  |  |  |  |  | Stabilization |  |
| 18 | Construction Scope Descriptions, Building Stabilization & ADA Accessiblity |  |  |  |  |  | Improvements |  | Measures |  |
| 19 | Preparation Measures for Historic Buildings |  | Quantity | Unit | Cost |  | Budget Cost |  | Costs (current) |  |
| 20 |  |  |  |  |  |  |  |  |  |  |  |
| 21 | Selective Demo @ Interiors (Basement, 1st floor, 2nd floor) [total gross floor areas = 22,000SF] |  | 17,800 | 18 | 20 |  | $320,400 |  |  |  |
| 22 | Remove Masonry Infills/repair opngs |  | 34 | EA | 500 |  | $17,000 |  |  |  |
| 23 |  |  |  |  |  |  |  |  |  |  |  |
| 24 | Interior | Renovations @ 1st floor gym@ 4200SF (refinished) |  | 4,200 | SF | 30 |  | $126,000 |  |  |  |
| 25 | Interior | Renovations @ 1st floor @ 4800SF (partitioned) |  | 4,800 | SF | 100 |  | $480,000 |  |  |  |
| 26 |  |  |  |  |  |  |  |  |  |  |  |
| 27 | Interior | Renovations @ 2nd floor @ 4,000SF general floor area (open interior) |  | 4,000 | SF | 80 |  | $320,000 |  |  |  |
| 28 |  |  |  |  |  |  |  |  |  |  |  |
| 29 | Interior | Renovations @ Basement @ 9,000SF (partitioned & specialized) |  | 9,000 | SF | 150 |  | $1,350,000 |  |  |  |
| 30 |  |  |  |  |  |  |  |  |  |  |  |
| 31 | Upper Gymnasium Balcony |  | 2 | EA | 150,000 |  | $300,000 |  |  |  |
| 32 | New Floor Above Exist Stage Platform (new floor sys. w part'ns) |  | 1,000 | SF | 100 |  | $100,000 |  |  |  |
| 33 | New Elevator, Shaft Enclo, Machine Rm. |  | 1 | LS | 117,000 |  | $117,000 |  | $117,000 |  |
| 34 | New Metal Stair flights & Enclo.@ Southeast (Interior) |  | 1 | LS | 30,000 |  | $30,000 |  | $30,000 |  |
| 35 | Misc. Interior Natatorium (pool) Repairs |  | 1 | allow | 25,000 |  | $25,000 |  | $25,000 |  |
| 36 | Lighting, power, plumbing, HVAC,Technology Infastructure & security system upgrades |  | 1 | allow | 175,000 |  | $175,000 |  | $175,000 |  |
| 37 |  |  |  |  |  |  |  |  |  |  |  |
| 38 | Roofing repairs incl./ 4" polyiso (with exist. tearoff to deck) |  | 9,000 | SF | 10 |  | $90,000 |  | $90,000 |  |
| 39 | Reset Stone copings |  | 400 | LF | 50 |  | $20,000 |  | $20,000 |  |
| 40 | Clean masonry or stone |  | 12,000 | SF | 2 |  | $24,000 |  | $24,000 |  |
| 41 | Tuckpoint @ 33% |  | 3,900 | SF | 4 |  | $15,600 |  | $15,600 |  |
| 42 |  |  |  |  |  |  |  |  |  |  |  |
| 43 | New Windows (All fenestration to match historic) @ Large Bay 6'x19' |  | 8 | EA | 4,000 |  | $32,000 |  |  |  |
| 44 | New Windows (All fenestration to match historic) @ 3.5' x 6' |  | 39 | EA | 2,000 |  | $78,000 |  |  |  |
| 45 | New Windows (All fenestration to match historic) small @ 4' x 6' |  | 29 | EA | 2,500 |  | $72,500 |  |  |  |
| 46 | New Exterior Transoms |  | 2 | EA | 3,000 |  | $6,000 |  |  |  |
| 47 |  |  |  |  |  |  |  |  |  |  |  |
| 48 | New Exterior Doors & Hardware: (wood paneled) |  | 17 | EA | 2,500 |  | $42,500 |  |  |  |
| 49 | Repair/Refinish exterior railings & stairs |  | 5 | allow | 10,000 |  | $50,000 |  |  |  |
| 50 |  |  |  |  |  |  |  |  |  |  |  |
| 51 | Misc. Exterior Repairs to brick, stone, lintels, sealants, incl. painting, handrails & security closures |  | 1 | allow | 25,000 |  | $25,000 |  | $25,000 |  |
| 52 |  |  |  |  |  |  |  |  |  |  |  |
| 53 | Exterior Sitework & Demo |  | 1 | allow | 200,000 |  | $200,000 |  |  |  |
| 54 |  |  |  |  |  |  |  |  |  |  |  |
| 55 |  | Subtotal Direct Construction Costs |  |  |  |  |  | $4,016,000 |  | $521,600 |  |
| 56 |  |  |  |  |  |  |  |  |  |  |  |
| 57 | General Conditions, Bonds, Fees, Reimburseables, Insurance & Permits @ 11% |  |  |  |  |  | $441,760 |  |  |  |
| 58 | General Contractor Overhead and Profit @ 15% |  |  |  |  |  | $602,400 |  |  |  |
| 59 |  | Subtotal Construction Overhead Costs |  |  |  |  |  | $1,044,160 |  |  |  |
| 60 |  |  |  |  |  |  |  |  |  |  |  |
| 61 |  | Subtotal Construction Costs |  |  |  |  |  | $5,060,160 |  |  |  |
| 62 |  |  |  |  |  |  |  |  |  |  |  |
| 63 |  | Construction Contingency @ 10% |  |  |  |  |  | $506,016 |  |  |  |
| 64 |  |  |  |  |  |  |  |  |  |  |  |
| 65 |  | TOTAL FACILITY CONSTRUCTION BUDGET |  |  |  |  |  | $5,566,176 |  |  |  |
| 66 |  |  |  |  |  |  |  |  |  |  |  |
| 67 |  | Architect & Engineer Fees @ 10% |  |  |  |  |  | $556,618 |  |  |  |
| 68 |  |  |  |  |  |  |  |  |  |  |  |
| 69 | TOTAL PROJECT BUDGET |  |  |  |  |  | $6,122,794 |  |  |  |
| 70 |  |  |  |  |  |  |  |  |  |  |  |
| 71 |  |  |  |  |  |  |  |  |  |  |  |
| 72 |  |  |  |  |  |  |  |  |  |  |  |
| 73 |  |  |  |  |  |  |  |  |  |  |  |
| 74 |  |  |  |  |  |  |  |  |  |  |  |
| 75 |  |  |  |  |  |  |  |  |  |  |  |

Page 1	LindenCenterConceptEstimate

New on Site Recreational Therapy Residence Facility

Copyright @ 2017

Linden Center (Existing Building) Renovation:

Partial Lower Level	View